## MP 1
Benedict Industries
EPA Licence No: 4612
Monitoring Point 1
(311812 East, 6243684 North)
Borehole labelled as "Monitoring Point 1" on map titled "Location Plan" submitted to the EPA on 14 March 2003
No. | Pollutant | Unit of Measure | No. Samples Req by Licence | No. of samples | Lowest sample value | Highest sample value | Mean of samples | 2015-01-19 | 2015-02-16 | 2015-03-09 | 2015-04-10 | 2015-05-18 | 2015-06-17 | 2015-07-06 | 2015-08-14 | 2015-09-11 | 2015-10-12 | 2015-11-09 | 2015-12-11
[8 empty] | 1590/1 | 0061/1 | 0164/1 | 0325/1 | 0490/1 | 0652/1 | 0747/1 | 0917/1 | 1049/1 | 1192/1 | 1328/1 | 1496/1
1 | Alkalinity (as CaCO3) | mg/L | 4 | 4 | 120 | 350 | 222.5 | 2015-01-19: 180; 2015-04-10: 120; 2015-07-06: 350; 2015-10-12: 240
2 | Aluminium (Al) | mg/L | 2 | 2 | <0.1 | <0.1 | <0.1 | 2015-01-19: <0.1; 2015-07-06: <0.1
3 | Arsenic (As) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
4 | Barium (Ba) | mg/L | 2 | 2 | 0.4 | 0.4 | 0.4 | 2015-01-19: 0.4; 2015-07-06: 0.4
5 | Cadmium (Cd) | mg/L | 2 | 2 | <0.001 | <0.01 | <0.005 | 2015-01-19: <0.01; 2015-07-06: <0.001
6 | Chromium (Cr) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
7 | Conductivity | uS/cm | 4 | 4 | 8800 | 14500 | 12675 | 2015-01-19: 14000; 2015-04-10: 13400; 2015-07-06: 8800; 2015-10-12: 14500
8 | Copper (Cu) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
9 | Iron (Fe) | mg/L | 2 | 2 | <0.01 | 0.03 | 0.02 | 2015-01-19: <0.01; 2015-07-06: 0.03
10 | Lead (Pb) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
11 | Manganese (Mn) | mg/L | 4 | 4 | 0.29 | 0.63 | 0.3975 | 2015-01-19: 0.29; 2015-04-10: 0.63; 2015-07-06: 0.35; 2015-10-12: 0.32
12 | Mercury (Hg) | mg/L | 4 | 4 | <0.0001 | <0.0001 | <0.0001 | 2015-01-19: <0.0001; 2015-04-10: <0.0001; 2015-07-06: <0.0001; 2015-10-12: <0.0001
13 | Nitrate + Nitrite (oxidised Nitrogen) | mg/L | 4 | 4 | <0.1 | 1.8 | 0.8 | 2015-01-19: 1.8; 2015-04-10: 1; 2015-07-06: <0.1; 2015-10-12: <0.1
14 | Nitrogen-Ammonia | mg/L | 4 | 4 | 4.8 | 18 | 9.575 | 2015-01-19: 5.5; 2015-04-10: 4.8; 2015-07-06: 18; 2015-10-12: 10
15 | Organochlorine Pesticides | ug/L | 2 | 2 | <0.2 | <0.2 | <0.2 | 2015-01-19: <0.2; 2015-07-06: <0.2
16 | Phenols | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
17 | Polycyclic Aromatic Hydrocarbons | ug/L | 2 | 2 | <5 | <5 | <5 | bar: 2015-01-19; 2015-07-06
18 | Selenium (Se) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
19 | Total Dissolved Solids | mg/L | 4 | 4 | 5300 | 9450 | 7987.5 | 2015-01-19: 8500; 2015-04-10: 8700; 2015-07-06: 5300; 2015-10-12: 9450
20 | Total Organic Carbon | mg/L | 4 | 4 | 14 | 40 | 26 | 2015-01-19: 40; 2015-04-10: 14; 2015-07-06: 29; 2015-10-12: 21
21 | Total Petroleum Hydrocarbons | ug/L | 2 | 2 | <260 | <260 | <260 | 2015-01-19: <260; 2015-07-06: <260
22 | Zinc (Zn) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
23 | pH | pH | 12 | 12 | 7.1 | 7.9 | 7.4917 | 7.7 | 7.3 | 7.1 | 7.2 | 7.7 | 7.4 | 7.5 | 7.9 | 7.6 | 7.4 | 7.5 | 7.6
| Sampling frequency | [6 empty] | 2015-07-06: 0.01; 2015-09-11: 0.1
| Every month | [6 empty] | 2015-07-06: 0.001; 2015-09-11: 0.1
Every 3 months
Every 6 months

## MP 2
Benedict Industries
EPA Licence No: 4612
Monitoring Point 2
(311812 East, 3243684 North)
Borehole labelled as "Monitoring Point 2" on map titled "Location Plan" submitted to the EPA on 14 March 2003
No. | Pollutant | Unit of Measure | No. Samples Req by Licence | No. of samples | Lowest sample value | Highest sample value | Mean of samples | 2015-01-19 | 2015-02-16 | 2015-03-09 | 2015-04-10 | 2015-05-18 | 2015-06-17 | 2015-07-06 | 2015-08-14 | 2015-09-11 | 2015-10-12 | 2015-11-09 | 2015-12-11
[8 empty] | 1590/2 | 0061/2 | 0164/2 | 0325/2 | 0490/2 | 0652/2 | 0747/2 | 0917/2 | 1049/2 | 1192/2 | 1328/2 | 1496/1
1 | Alkalinity (as CaCO3) | mg/L | 4 | 4 | 120 | 350 | 222.5 | 2015-01-19: 180; 2015-04-10: 120; 2015-07-06: 350; 2015-10-12: 240 | 180 |  |  | 120 |  |  | 350 |  |  | 240
2 | Aluminium (Al) | mg/L | 2 | 2 | <0.1 | <0.1 | <0.1 | 2015-01-19: <0.1; 2015-07-06: <0.1 | 0.1 | [5 empty] | 0.1
3 | Arsenic (As) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01 | 0.01 | [5 empty] | 0.01
4 | Barium (Ba) | mg/L | 2 | 2 | 0.3 | 0.4 | 0.35 | 2015-01-19: 0.4; 2015-07-06: 0.3 | 0.4 | [5 empty] | 0.3
5 | Cadmium (Cd) | mg/L | 2 | 2 | <0.01 | <0.001 | <0.005 | 2015-01-19: <0.01; 2015-07-06: <0.001 | 0.01 | [5 empty] | 0.001
6 | Chromium (Cr) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01 | 0.01 | [5 empty] | 0.01
7 | Conductivity | uS/cm | 4 | 4 | 8800 | 14600 | 12750 | 2015-01-19: 14000; 2015-04-10: 13600; 2015-07-06: 8800; 2015-10-12: 14600 | 14000 |  |  | 13600 |  |  | 8800 |  |  | 14600
8 | Copper (Cu) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01 | 0.01 | [5 empty] | 0.01
9 | Iron (Fe) | mg/L | 2 | 2 | 0.02 | 0.03 | 0.025 | 2015-01-19: 0.03; 2015-07-06: 0.02 | 0.03 | [5 empty] | 0.02
10 | Lead (Pb) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01 | 0.01 | [5 empty] | 0.01
11 | Manganese (Mn) | mg/L | 4 | 4 | 0.29 | 0.78 | 0.43 | 2015-01-19: 0.29; 2015-04-10: 0.78; 2015-07-06: 0.34; 2015-10-12: 0.31 | 0.29 |  |  | 0.78 |  |  | 0.34 |  |  | 0.31
12 | Mercury (Hg) | mg/L | 4 | 4 | <0.0001 | <0.0001 | <0.0001 | 2015-01-19: <0.0001; 2015-04-10: <0.0001; 2015-07-06: <0.0001; 2015-10-12: <0.0001 | 0.0001 |  |  | 0.0001 |  |  | 0.0001 |  |  | 0.0001
13 | Nitrate + Nitrite (oxidised Nitrogen) | mg/L | 4 | 4 | <0.1 | 1.8 | 0.75 | 2015-01-19: 1.8; 2015-04-10: 0.99; 2015-07-06: <0.1; 2015-10-12: <0.1 | 1.8 |  |  | 0.99 |  |  | 0.1 |  |  | 0.1
14 | Nitrogen-Ammonia | mg/L | 4 | 4 | 4.9 | 18 | 9.625 | 2015-01-19: 5.6; 2015-04-10: 4.9; 2015-07-06: 18; 2015-10-12: 10 | 5.6 |  |  | 4.9 |  |  | 18 |  |  | 10
15 | Organochlorine Pesticides | ug/L | 2 | 2 | <0.2 | <0.2 | <0.2 | 2015-01-19: <0.2; 2015-07-06: <0.2 | 0.2 | [5 empty] | 0.2
16 | Phenols | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01 | 0.01 | [5 empty] | 0.01
17 | Polycyclic Aromatic Hydrocarbons | ug/L | 2 | 2 | <5 | <5 | <5 | [12 empty] | 5 | [5 empty] | 5 | bar: 2015-01-19; 2015-07-06
18 | Selenium (Se) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01 | 0.01 | [5 empty] | 0.01
19 | Total Dissolved Solids | mg/L | 4 | 4 | 5300 | 9480 | 8037.5 | 2015-01-19: 8500; 2015-04-10: 8870; 2015-07-06: 5300; 2015-10-12: 9480 | 8500 |  |  | 8870 |  |  | 5300 |  |  | 9480
20 | Total Organic Carbon | mg/L | 4 | 4 | 19 | 35 | 26.75 | 2015-01-19: 30; 2015-04-10: 23; 2015-07-06: 35; 2015-10-12: 19 | 30 |  |  | 23 |  |  | 35 |  |  | 19
21 | Total Petroleum Hydrocarbons | ug/L | 2 | 2 | <260 | <260 | <260 | 2015-01-19: <260; 2015-07-06: <260 | 260 | [5 empty] | 260
22 | Zinc (Zn) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01 | 0.01 | [5 empty] | 0.01
23 | pH | pH | 12 | 12 | 6.5 | 7.7 | 7.325 | 7.7 | 7.4 | 7.2 | 7.1 | 7.5 | 7.4 | 7.5 | 7.6 | 6.5 | 7.2 | 7.3 | 7.5 | 7.7 | 7.4 | 7.2 | 7.1 | 7.5 | 7.4 | 7.5 | 7.6 | 6.5 | 7.2 | 7.3 | 7.5
Sampling frequency
| Every month | [6 empty] | 2015-06-17: 0.1; 2015-07-06: 0.01
| Every 3 months | [6 empty] | 2015-06-17: 0.1; 2015-07-06: 0.001
Every 6 months

## MP 3
Benedict Industries
EPA Licence No: 4612
Monitoring Point 3
(311812 East, 3243684 North)
Borehole labelled as "Monitoring Point 3" on map titled "Location Plan" submitted to the EPA on 14 March 2003
No. | Pollutant | Unit of Measure | No. Samples Req by Licence | No. of samples | Lowest sample value | Highest sample value | Mean of samples | 2015-01-19 | 2015-02-16 | 2015-03-09 | 2015-04-10 | 2015-05-18 | 2015-06-17 | 2015-07-06 | 2015-08-14 | 2015-09-11 | 2015-10-12 | 2015-11-09 | 2015-12-11
[8 empty] | 1590/3 | 0061/3 | 0164/3 | 0325/3 | 0490/3 | 0652/3 | 0747/3 | 0917/3 | 1049/3 | 1192/3 | 1328/3 | 1496/1
1 | Alkalinity (as CaCO3) | mg/L | 4 | 4 | <1 | 26 | 10.75 | 2015-01-19: <1; 2015-04-10: 14; 2015-07-06: 26; 2015-10-12: 2 | 1 |  |  | 14 |  |  | 26 |  |  | 2
2 | Aluminium (Al) | mg/L | 2 | 2 | 0.2 | 0.3 | 0.25 | 2015-01-19: 0.3; 2015-07-06: 0.2 | 0.3 | [5 empty] | 0.2
3 | Arsenic (As) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01 | 0.01 | [5 empty] | 0.01
4 | Barium (Ba) | mg/L | 2 | 2 | <0.1 | <0.1 | <0.1 | 2015-01-19: <0.1; 2015-07-06: <0.1 | 0.1 | [5 empty] | 0.1
5 | Cadmium (Cd) | mg/L | 2 | 2 | <0.0001 | <0.01 | <0.005 | 2015-01-19: <0.01; 2015-07-06: <0.001 | 0.01 | [5 empty] | 0.001
6 | Chromium (Cr) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01 | 0.01 | [5 empty] | 0.01
7 | Conductivity | uS/cm | 4 | 4 | 14000 | 17700 | 15925 | 2015-01-19: 16000; 2015-04-10: 17700; 2015-07-06: 14000; 2015-10-12: 16000 | 16000 |  |  | 17700 |  |  | 14000 |  |  | 16000
8 | Copper (Cu) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01 | 0.01 | [5 empty] | 0.01
9 | Iron (Fe) | mg/L | 2 | 2 | 0.27 | 11 | 5.635 | 2015-01-19: 0.27; 2015-07-06: 11 | 0.27 | [5 empty] | 11
10 | Lead (Pb) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01 | 0.01 | [5 empty] | 0.01
11 | Manganese (Mn) | mg/L | 4 | 4 | 0.17 | 0.3 | 0.2125 | 2015-01-19: 0.3; 2015-04-10: 0.18; 2015-07-06: 0.17; 2015-10-12: 0.2 | 0.3 |  |  | 0.18 |  |  | 0.17 |  |  | 0.2
12 | Mercury (Hg) | mg/L | 4 | 4 | <0.0001 | <0.0001 | <0.0001 | 2015-01-19: <0.0001; 2015-04-10: <0.0001; 2015-07-06: <0.0001; 2015-10-12: <0.0001 | 0.0001 |  |  | 0.0001 |  |  | 0.0001 |  |  | 0.0001
13 | Nitrate + Nitrite (oxidised Nitrogen) | mg/L | 4 | 4 | <0.1 | <0.1 | <0.1 | 2015-01-19: <0.1; 2015-04-10: <0.1; 2015-07-06: <0.1; 2015-10-12: <0.1 | 0.1 |  |  | 0.1 |  |  | 0.1 |  |  | 0.1
14 | Nitrogen-Ammonia | mg/L | 4 | 4 | 4.6 | 5.4 | 5 | 2015-01-19: 5; 2015-04-10: 5.4; 2015-07-06: 4.6; 2015-10-12: 5 | 5 |  |  | 5.4 |  |  | 4.6 |  |  | 5
15 | Organochlorine Pesticides | ug/L | 2 | 2 | <0.2 | <0.2 | <0.2 | 2015-01-19: <0.2; 2015-07-06: <0.2 | 0.2 | [5 empty] | 0.2
16 | Phenols | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01 | 0.01 | [5 empty] | 0.01
17 | Polycyclic Aromatic Hydrocarbons | ug/L | 2 | 2 | <5 | <5 | <5 | [12 empty] | 5 | [5 empty] | 5 | bar: 2015-01-19; 2015-07-06
18 | Selenium (Se) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01 | 0.01 | [5 empty] | 0.01
19 | Total Dissolved Solids | mg/L | 4 | 4 | 8400 | 11500 | 10000 | 2015-01-19: 9700; 2015-04-10: 11500; 2015-07-06: 8400; 2015-10-12: 10400 | 9700 |  |  | 11500 |  |  | 8400 |  |  | 10400
20 | Total Organic Carbon | mg/L | 4 | 4 | 18 | 36 | 23.75 | 2015-01-19: 18; 2015-04-10: 22; 2015-07-06: 36; 2015-10-12: 19 | 18 |  |  | 22 |  |  | 36 |  |  | 19
21 | Total Petroleum Hydrocarbons | ug/L | 2 | 2 | 240 | 240 | 240 | 2015-01-19: 240; 2015-07-06: <260 | 240 | [5 empty] | 260
22 | Zinc (Zn) | mg/L | 2 | 2 | 0.03 | 0.04 | 0.035 | 2015-01-19: 0.04; 2015-07-06: 0.03 | 0.04 | [5 empty] | 0.03
23 | pH | pH | 12 | 12 | 4.3 | 5.7 | 5.15 | 5 | 4.3 | 4.3 | 5.5 | 5.4 | 5.7 | 5.7 | 5.6 | 5.5 | 4.5 | 5.4 | 4.9 | 5 | 4.3 | 4.3 | 5.5 | 5.4 | 5.7 | 5.7 | 5.6 | 5.5 | 4.5 | 5.4 | 4.9
Sampling frequency
| Every month | [6 empty] | 2015-07-06: 0.01
| Every 3 months | [6 empty] | 2015-07-06: 0.001
Every 6 months

## MP 4
Benedict Industries
EPA Licence No: 4612
Monitoring Point 4
(311812 East, 3243684 North)
Borehole labelled as "Monitoring Point 4" on map titled "Location Plan" submitted to the EPA on 14 March 2003
No. | Pollutant | Unit of Measure | No. Samples Req by Licence | No. of samples | Lowest sample value | Highest sample value | Mean of samples | 2015-01-19 | 2015-02-16 | 2015-03-09 | 2015-04-10 | 2015-05-18 | 2015-06-17 | 2015-07-06 | 2015-08-14 | 2015-09-11 | 2015-10-12 | 2015-11-09 | 2015-12-11
[8 empty] | 1590/4 | 0061/4 | 0164/4 | 0325/4 | 0490/4 | 0652/4 | 0747/4 | 0917/4 | 1049/4 | 1192/4 | 1328/4 | 1496/1
1 | Alkalinity (as CaCO3) | mg/L | 4 | 4 | 250 | 300 | 277.5 | 2015-01-19: 300; 2015-04-10: 300; 2015-07-06: 250; 2015-10-12: 260
2 | Aluminium (Al) | mg/L | 2 | 2 | <0.1 | <0.1 | <0.1 | 2015-01-19: <0.1; 2015-07-06: <0.1
3 | Arsenic (As) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
4 | Barium (Ba) | mg/L | 2 | 2 | <0.01 | <0.1 | <0.05 | 2015-01-19: <0.1; 2015-07-06: <0.01
5 | Cadmium (Cd) | mg/L | 2 | 2 | <0.001 | <0.01 | <0.005 | 2015-01-19: <0.01; 2015-07-06: <0.001
6 | Chromium (Cr) | mg/L | 2 | 2 | <0.01 | <0.1 | <0.05 | 2015-01-19: <0.01; 2015-07-06: <0.01
7 | Conductivity | uS/cm | 4 | 4 | 14800 | 18100 | 16225 | 2015-01-19: 16000; 2015-04-10: 18100; 2015-07-06: 16000; 2015-10-12: 14800
8 | Copper (Cu) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
9 | Iron (Fe) | mg/L | 2 | 2 | 0.03 | 0.11 | 0.07 | 2015-01-19: 0.03; 2015-07-06: 0.11
10 | Lead (Pb) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
11 | Manganese (Mn) | mg/L | 4 | 4 | 0.11 | 0.69 | 0.41 | 2015-01-19: 0.11; 2015-04-10: 0.57; 2015-07-06: 0.69; 2015-10-12: 0.27
12 | Mercury (Hg) | mg/L | 4 | 4 | <0.0001 | <0.0001 | <0.0001 | 2015-01-19: <0.0001; 2015-04-10: <0.0001; 2015-07-06: <0.0001; 2015-10-12: <0.0001
13 | Nitrate + Nitrite (oxidised Nitrogen) | mg/L | 4 | 4 | <0.1 | 0.26 | 0.14 | 2015-01-19: 0.26; 2015-04-10: <0.1; 2015-07-06: <0.1; 2015-10-12: <0.1
14 | Nitrogen-Ammonia | mg/L | 4 | 4 | 2.8 | 3.1 | 2.925 | 2015-01-19: 2.8; 2015-04-10: 3.1; 2015-07-06: 2.9; 2015-10-12: 2.9
15 | Organochlorine Pesticides | ug/L | 2 | 2 | <0.2 | <0.2 | <0.2 | 2015-01-19: <0.2; 2015-07-06: <0.2
16 | Phenols | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
17 | Polycyclic Aromatic Hydrocarbons | ug/L | 2 | 2 | <5 | <5 | <5 | bar: 2015-01-19; 2015-07-06
18 | Selenium (Se) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
19 | Total Dissolved Solids | mg/L | 4 | 4 | 9500 | 11800 | 10127.5 | 2015-01-19: 9600; 2015-04-10: 11800; 2015-07-06: 9500; 2015-10-12: 9610
20 | Total Organic Carbon | mg/L | 4 | 4 | 11 | 27 | 17 | 2015-01-19: 11; 2015-04-10: 15; 2015-07-06: 27; 2015-10-12: 15
21 | Total Petroleum Hydrocarbons | ug/L | 2 | 2 | <260 | <260 | <260 | 2015-01-19: <260; 2015-07-06: <260
22 | Zinc (Zn) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
23 | pH | pH | 12 | 12 | 6.3 | 6.7 | 6.5917 | 6.7 | 6.7 | 6.6 | 6.7 | 6.6 | 6.7 | 6.6 | 6.6 | 6.5 | 6.6 | 6.3 | 6.5
| Sampling frequency | [6 empty] | 2015-07-06: 0.001
| Every month | [6 empty] | 2015-06-17: 0.1; 2015-07-06: 0.01
| Every 3 months | [6 empty] | 2015-06-17: 0.1
| Every 6 months | [6 empty] | 2015-06-17: 0.1

## MP 5
Benedict Industries
EPA Licence No: 4612
Monitoring Point 5
(311812 East, 3243684 North)
Borehole with blue top on the western side of the boundary of the premises labelled as "Monitoring Point 5" on map titled "Location Plan" submitted to the EPA on 14 March 2003.
No. | Pollutant | Unit of Measure | No. Samples Req by Licence | No. of samples | Lowest sample value | Highest sample value | Mean of samples | 2015-01-19 | 2015-02-16 | 2015-03-09 | 2015-04-10 | 2015-05-18 | 2015-06-17 | 2015-07-06 | 2015-08-14 | 2015-09-11 | 2015-10-12 | 2015-11-09 | 2015-12-11
[8 empty] | 1590/5 | 0061/5 | 0164/5 | 0325/5 | 0490/5 | 0652/5 | 0747/5 | 0917/5 | 1049/5 | 1192/5 | 1328/5 | 1496/1
1 | Alkalinity (as CaCO3) | mg/L | 4 | 4 | <1 | 91 | 23.5 | 2015-01-19: <1; 2015-04-10: <1; 2015-07-06: <1; 2015-10-12: 91
2 | Aluminium (Al) | mg/L | 2 | 2 | 19 | 21 | 20 | 2015-01-19: 21; 2015-07-06: 19
3 | Arsenic (As) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
4 | Barium (Ba) | mg/L | 2 | 2 | <0.1 | <0.1 | <0.1 | 2015-01-19: <0.1; 2015-07-06: <0.1
5 | Cadmium (Cd) | mg/L | 2 | 2 | <0.001 | <0.01 | <0.005 | 2015-01-19: <0.01; 2015-07-06: <0.001
6 | Chromium (Cr) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
7 | Conductivity | uS/cm | 4 | 4 | 3360 | 37000 | 11920 | 2015-01-19: 37000; 2015-04-10: 3360; 2015-07-06: 3400; 2015-10-12: 3920
8 | Copper (Cu) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
9 | Iron (Fe) | mg/L | 2 | 2 | 46 | 57 | 51.5 | 2015-01-19: 57; 2015-07-06: 46
10 | Lead (Pb) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
11 | Manganese (Mn) | mg/L | 4 | 4 | 3.8 | 11 | 7.825 | 2015-01-19: 11; 2015-04-10: 5.5; 2015-07-06: 11; 2015-10-12: 3.8
12 | Mercury (Hg) | mg/L | 4 | 4 | <0.0001 | <0.0001 | <0.0001 | 2015-01-19: <0.0001; 2015-04-10: <0.0001; 2015-07-06: <0.0001; 2015-10-12: <0.0001
13 | Nitrate + Nitrite (oxidised Nitrogen) | mg/L | 4 | 4 | 0.14 | 0.27 | 0.1925 | 2015-01-19: 0.14; 2015-04-10: 0.22; 2015-07-06: 0.27; 2015-10-12: 0.14
14 | Nitrogen-Ammonia | mg/L | 4 | 4 | 3.1 | 33 | 15.275 | 2015-01-19: 12; 2015-04-10: 3.1; 2015-07-06: 13; 2015-10-12: 33
15 | Organochlorine Pesticides | ug/L | 2 | 2 | <0.2 | <0.2 | <0.2 | 2015-01-19: <0.2; 2015-07-06: <0.2
16 | Phenols | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
17 | Polycyclic Aromatic Hydrocarbons | ug/L | 2 | 2 | <5 | <5 | <5 | bar: 2015-01-19; 2015-07-06
18 | Selenium (Se) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
19 | Total Dissolved Solids | mg/L | 4 | 4 | 2100 | 22000 | 7207.5 | 2015-01-19: 22000; 2015-04-10: 2180; 2015-07-06: 2100; 2015-10-12: 2550
20 | Total Organic Carbon | mg/L | 4 | 4 | 14 | 57 | 26 | 2015-01-19: 15; 2015-04-10: 14; 2015-07-06: 18; 2015-10-12: 57
21 | Total Petroleum Hydrocarbons | ug/L | 2 | 2 | <260 | <260 | <260 | 2015-01-19: <260; 2015-07-06: <260
22 | Zinc (Zn) | mg/L | 2 | 2 | 1.5 | 1.9 | 1.7 | 2015-01-19: 1.5; 2015-07-06: 1.9
23 | pH | pH | 12 | 12 | 3.3 | 5.6 | 4.2917 | 4.4 | 4.1 | 4.4 | 4 | 3.3 | 3.6 | 4 | 5.4 | 4.1 | 5.6 | 4.2 | 4.4
| Sampling frequency | [6 empty] | 2015-07-06: 1; 2015-08-14: 0.01
| Every month | [6 empty] | 2015-07-06: 1; 2015-08-14: 0.001
Every 3 months | bar: 2015-07-06
Every 6 months

## MP 7
Benedict Industries
EPA Licence No: 4612
Monitoring Point 7
(311812 East, 3243684 North)
Monitoring point in the dredge pond labelled as "Monitoring Point 7" on map titled "Location Plan" submitted to the EPA on 14 March 2003
No. | Pollutant | Unit of Measure | No. Samples Req by Licence | No. of samples | Lowest sample value | Highest sample value | Mean of samples | 2015-01-19 | 2015-02-16 | 2015-03-09 | 2015-04-10 | 2015-05-18 | 2015-06-17 | 2015-07-06 | 2015-08-14 | 2015-09-11 | 2015-10-12 | 2015-11-09 | 2015-12-11
1 | Alkalinity (as CaCO3) | mg/L | 4 | 4 | 67 | 188 | 116.625 | 2015-01-19: 90.5; 2015-04-10: 67; 2015-07-06: 188; 2015-10-12: 121
2 | Aluminium (Al) | mg/L | 2 | 2 | 0.15 | 0.2 | 0.175 | 2015-01-19: 0.2; 2015-07-06: 0.15
3 | Arsenic (As) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: 0.01; 2015-07-06: 0.01
4 | Barium (Ba) | mg/L | 2 | 2 | 0.2 | 0.25 | 0.225 | 2015-01-19: 0.25; 2015-07-06: 0.2
5 | Cadmium (Cd) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
6 | Chromium (Cr) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
7 | Conductivity | uS/cm | 4 | 4 | 11400 | 15650 | 14337.5 | 2015-01-19: 15000; 2015-04-10: 15650; 2015-07-06: 11400; 2015-10-12: 15300
8 | Copper (Cu) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
9 | Iron (Fe) | mg/L | 2 | 2 | 0.15 | 5.51 | 2.83 | 2015-01-19: 0.15; 2015-07-06: 5.51
10 | Lead (Pb) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
11 | Manganese (Mn) | mg/L | 4 | 4 | 0.255 | 0.48 | 0.32125 | 2015-01-19: 0.295; 2015-04-10: 0.48; 2015-07-06: 0.255; 2015-10-12: 0.255
12 | Mercury (Hg) | mg/L | 4 | 4 | <0.0001 | <0.0001 | <0.0001 | 2015-01-19: <0.0001; 2015-04-10: <0.0001; 2015-07-06: <0.0001; 2015-10-12: <0.0001
13 | Nitrate + Nitrite (oxidised Nitrogen) | mg/L | 4 | 4 | 2.35 | 3.4 | 2.8738 | 2015-01-19: 3.4; 2015-04-10: 3.195; 2015-07-06: 2.35; 2015-10-12: 2.55
14 | Nitrogen-Ammonia | mg/L | 4 | 4 | 5.15 | 11.3 | 7.3125 | 2015-01-19: 5.3; 2015-04-10: 5.15; 2015-07-06: 11.3; 2015-10-12: 7.5
15 | Organochlorine Pesticides | ug/L | 2 | 2 | <0.2 | <0.2 | <0.2 | 2015-01-19: <0.2; 2015-07-06: <0.2
16 | Phenols | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
17 | Polycyclic Aromatic Hydrocarbons | ug/L | 2 | 2 | <5 | <5 | <5 | bar: 2015-01-19; 2015-07-06
18 | Selenium (Se) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
19 | Total Dissolved Solids | mg/L | 4 | 4 | 6850 | 10185 | 9018.75 | 2015-01-19: 9100; 2015-04-10: 10185; 2015-07-06: 6850; 2015-10-12: 9940
20 | Total Organic Carbon | mg/L | 4 | 4 | 19 | 35.5 | 25.25 | 2015-01-19: 24; 2015-04-10: 22.5; 2015-07-06: 35.5; 2015-10-12: 19
21 | Total Petroleum Hydrocarbons | ug/L | 2 | 2 | 250 | 260 | 255 | 2015-01-19: 250; 2015-07-06: 260
22 | Zinc (Zn) | mg/L | 2 | 2 | 0.02 | 0.025 | 0.0225 | 2015-01-19: 0.025; 2015-07-06: 0.02
23 | pH | pH | 12 | 12 | 5.75 | 6.6 | 6.2375 | 6.35 | 5.85 | 5.75 | 6.3 | 6.45 | 6.55 | 6.6 | 6.6 | 6 | 5.85 | 6.35 | 6.2
Sampling frequency
Every month
Every 3 months
Every 6 months

## MP 8
Benedict Industries
EPA Licence No: 4612
Monitoring Point 8
(311812 East, 3243684 North)
Upstream monitoring point at the north eastern boundary of the premises labelled as "Monitoring Point 8" on map titled "Location Plan" submitted to the EPA on 14 March 2003
No. | Pollutant | Unit of Measure | No. Samples Req by Licence | No. of samples | Lowest sample value | Highest sample value | Mean of samples | 2015-01-19 | 2015-02-16 | 2015-03-09 | 2015-04-10 | 2015-05-18 | 2015-06-17 | 2015-07-06 | 2015-08-14 | 2015-09-11 | 2015-10-12 | 2015-11-09 | 2015-12-11
[8 empty] | 1590/6 | 0061/6 | 0164/6 | 0325/6 | 0490/6 | 0652/6 | 0747/6 | 0917/6 | 1049/6 | 1192/6 | 1328/6 | 1496/1
1 | Alkalinity (as CaCO3) | mg/L | 4 | 4 | 68 | 89 | 79 | 2015-01-19: 89; 2015-04-10: 70; 2015-07-06: 68; 2015-10-12: 89
2 | Aluminium (Al) | mg/L | 2 | 2 | <0.1 | <0.1 | <0.1 | 2015-01-19: <0.1; 2015-07-06: <0.1
3 | Arsenic (As) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
4 | Barium (Ba) | mg/L | 2 | 2 | <0.1 | <0.1 | <0.1 | 2015-01-19: <0.1; 2015-07-06: <0.1
5 | Cadmium (Cd) | mg/L | 2 | 2 | <0.001 | <0.01 | <0.005 | 2015-01-19: <0.01; 2015-07-06: <0.001
6 | Chromium (Cr) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
7 | Conductivity | uS/cm | 4 | 4 | 7390 | 35400 | 19322.5 | 2015-01-19: 25000; 2015-04-10: 7390; 2015-07-06: 9500; 2015-10-12: 35400
8 | Copper (Cu) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
9 | Iron (Fe) | mg/L | 2 | 2 | 0.02 | 0.09 | 0.055 | 2015-01-19: 0.02; 2015-07-06: 0.09
10 | Lead (Pb) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
11 | Manganese (Mn) | mg/L | 4 | 4 | <0.01 | 0.1 | 0.05 | 2015-01-19: <0.01; 2015-04-10: 0.1; 2015-07-06: 0.03; 2015-10-12: 0.05
12 | Mercury (Hg) | mg/L | 4 | 4 | <0.0001 | <0.0001 | <0.0001 | 2015-01-19: <0.0001; 2015-04-10: <0.0001; 2015-07-06: <0.0001; 2015-10-12: <0.0001
13 | Nitrate + Nitrite (oxidised Nitrogen) | mg/L | 4 | 4 | 0.19 | 0.81 | 0.3775 | 2015-01-19: 0.25; 2015-04-10: 0.26; 2015-07-06: 0.81; 2015-10-12: 0.19
14 | Nitrogen-Ammonia | mg/L | 4 | 4 | <0.10 | 0.2 | 0.125 | 2015-01-19: <0.1; 2015-04-10: <0.1; 2015-07-06: 0.2; 2015-10-12: <0.1
15 | Organochlorine Pesticides | ug/L | 2 | 2 | <0.2 | <0.2 | <0.2 | 2015-01-19: <0.2; 2015-07-06: <0.2
16 | Phenols | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
17 | Polycyclic Aromatic Hydrocarbons | ug/L | 2 | 2 | <5 | <5 | <5 | bar: 2015-01-19; 2015-07-06
18 | Selenium (Se) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
19 | Total Dissolved Solids | mg/L | 4 | 4 | 4800 | 23000 | 12125 | 2015-01-19: 15000; 2015-04-10: 4800; 2015-07-06: 5700; 2015-10-12: 23000
20 | Total Organic Carbon | mg/L | 4 | 4 | <1 | 3 | 1.75 | 2015-01-19: <1; 2015-04-10: 2; 2015-07-06: 3; 2015-10-12: <1
21 | Total Petroleum Hydrocarbons | ug/L | 2 | 2 | <260 | <260 | <260 | 2015-01-19: <260; 2015-07-06: <260
22 | Zinc (Zn) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
23 | pH | pH | 12 | 12 | 6.7 | 7.4 | 7.1 | 7.3 | 7.2 | 7.4 | 7 | 6.7 | 7.2 | 7.3 | 7.4 | 7 | 6.8 | 7.2 | 6.7
| Sampling frequency | [6 empty] | 2015-05-18: 1; 2015-06-17: 0.1; 2015-07-06: 0.01
| Every month | [6 empty] | 2015-05-18: 1; 2015-06-17: 0.1; 2015-07-06: 0.001
| Every 3 months | [6 empty] | 2015-06-17: 0.1
Every 6 months

## MP 9
Benedict Industries
EPA Licence No: 4612
Monitoring Point 9
(311812 East, 3243684 North)
Downstream monitoring point at the south eastern boundary of the premises labelled as "Monitoring Point 9" on map titled "Location Plan" submitted to the EPA on 14 March 2003
No. | Pollutant | Unit of Measure | No. Samples Req by Licence | No. of samples | Lowest sample value | Highest sample value | Mean of samples | 2015-01-19 | 2015-02-16 | 2015-03-09 | 2015-04-10 | 2015-05-18 | 2015-06-17 | 2015-07-06 | 2015-08-14 | 2015-09-11 | 2015-10-12 | 2015-11-09 | 2015-12-11
[8 empty] | 1590/7 | 0061/7 | 0164/7 | 0325/7 | 0490/7 | 0652/7 | 0747/7 | 0917/7 | 1049/7 | 1192/7 | 1328/7 | 1496/1
1 | Alkalinity (as CaCO3) | mg/L | 4 | 4 | 70 | 89 | 80.5 | 2015-01-19: 89; 2015-04-10: 70; 2015-07-06: 76; 2015-10-12: 87
2 | Aluminium (Al) | mg/L | 2 | 2 | <0.1 | <0.1 | <0.1 | 2015-01-19: <0.1; 2015-07-06: <0.1
3 | Arsenic (As) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
4 | Barium (Ba) | mg/L | 2 | 2 | <0.1 | <0.1 | <0.1 | 2015-01-19: <0.1; 2015-07-06: <0.1
5 | Cadmium (Cd) | mg/L | 2 | 2 | <0.001 | <0.01 | <0.005 | 2015-01-19: <0.01; 2015-07-06: <0.001
6 | Chromium (Cr) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
7 | Conductivity | uS/cm | 4 | 4 | 8270 | 36500 | 20017.5 | 2015-01-19: 27000; 2015-04-10: 8270; 2015-07-06: 8300; 2015-10-12: 36500
8 | Copper (Cu) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
9 | Iron (Fe) | mg/L | 2 | 2 | 0.02 | 0.06 | 0.04 | 2015-01-19: 0.02; 2015-07-06: 0.06
10 | Lead (Pb) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
11 | Manganese (Mn) | mg/L | 4 | 4 | 0.01 | 0.09 | 0.04 | 2015-01-19: <0.01; 2015-04-10: 0.09; 2015-07-06: 0.03; 2015-10-12: 0.03
12 | Mercury (Hg) | mg/L | 4 | 4 | <0.0001 | <0.0001 | <0.0001 | 2015-01-19: <0.0001; 2015-04-10: <0.0001; 2015-07-06: <0.0001; 2015-10-12: <0.0001
13 | Nitrate + Nitrite (oxidised Nitrogen) | mg/L | 4 | 4 | 0.19 | 0.83 | 0.3875 | 2015-01-19: 0.25; 2015-04-10: 0.28; 2015-07-06: 0.83; 2015-10-12: 0.19
14 | Nitrogen-Ammonia | mg/L | 4 | 4 | <0.1 | 0.8 | 0.275 | 2015-01-19: <0.1; 2015-04-10: <0.1; 2015-07-06: 0.8; 2015-10-12: <0.1
15 | Organochlorine Pesticides | ug/L | 2 | 2 | <0.2 | <0.2 | <0.2 | 2015-01-19: <0.2; 2015-07-06: <0.2
16 | Phenols | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
17 | Polycyclic Aromatic Hydrocarbons | ug/L | 2 | 2 | <5 | <5 | <5 | bar: 2015-01-19; 2015-07-06
18 | Selenium (Se) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
19 | Total Dissolved Solids | mg/L | 4 | 4 | 5000 | 23700 | 12520 | 2015-01-19: 16000; 2015-04-10: 5380; 2015-07-06: 5000; 2015-10-12: 23700
20 | Total Organic Carbon | mg/L | 4 | 4 | <1 | 3 | 1.75 | 2015-01-19: <1; 2015-04-10: 2; 2015-07-06: 3; 2015-10-12: <1
21 | Total Petroleum Hydrocarbons | ug/L | 2 | 2 | <260 | <260 | <260 | 2015-01-19: <260; 2015-07-06: <260
22 | Zinc (Zn) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
23 | pH | pH | 12 | 12 | 6.9 | 7.5 | 7.2417 | 7.3 | 7.3 | 7.4 | 7.2 | 6.9 | 7.3 | 7.3 | 7.5 | 7.1 | 7.2 | 7.2 | 7.2
| Sampling frequency | [6 empty] | 2015-07-06: 0.01
| Every month | [6 empty] | 2015-07-06: 0.001
| Every 3 months | [6 empty] | 2015-06-17: 1; 2015-07-06: 0.1
| Every 6 months | [6 empty] | 2015-06-17: 1; 2015-07-06: 0.1
0.1

## MP 10
Benedict Industries
EPA Licence No: 4612
Monitoring Point 10
(311812 East, 3243684 North)
Stormwater monitoring at north western boundary of the premises labelled as "Monitoring Point 10" on map titled "Location Plan" submitted to the EPA on 14 March 2003
No. | Pollutant | Unit of Measure | No. Samples Req by Licence | No. of samples | Lowest sample value | Highest sample value | Mean of samples | 2015-01-19 | 2015-02-16 | 2015-03-09 | 2015-04-10 | 2015-05-18 | 2015-06-17 | 2015-07-06 | 2015-08-14 | 2015-09-11 | 2015-10-12 | 2015-11-09 | 2015-12-11
[8 empty] | 1590/8 | 0061/8 | 0164/8 | 0325/8 | 0490/8 | 0652/8 | 0747/8 | 0917/8 | 1049/8 | 1192/8 | 1328/8 | 1496/1
1 | Alkalinity (as CaCO3) | mg/L | 4 | 4 | 87 | 150 | 110 | 2015-01-19: 110; 2015-04-10: 93; 2015-07-06: 150; 2015-10-12: 87
2 | Aluminium (Al) | mg/L | 2 | 2 | <0.1 | <0.1 | <0.1 | 2015-01-19: <0.1; 2015-07-06: <0.1
3 | Arsenic (As) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
4 | Barium (Ba) | mg/L | 2 | 2 | <0.1 | <0.1 | <0.1 | 2015-01-19: <0.1; 2015-07-06: <0.1
5 | Cadmium (Cd) | mg/L | 2 | 2 | <0.001 | <0.01 | <0.011 | 2015-01-19: <0.01; 2015-07-06: <0.001
6 | Chromium (Cr) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
7 | Conductivity | uS/cm | 4 | 4 | 480 | 980 | 610 | 2015-01-19: 480; 2015-04-10: 500; 2015-07-06: 980; 2015-10-12: 480
8 | Copper (Cu) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
9 | Iron (Fe) | mg/L | 2 | 2 | 0.01 | 0.05 | 0.03 | 2015-01-19: 0.01; 2015-07-06: 0.05
10 | Lead (Pb) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
11 | Manganese (Mn) | mg/L | 4 | 4 | 0.02 | 0.1 | 0.07 | 2015-01-19: <0.01; 2015-04-10: 0.09; 2015-07-06: 0.02; 2015-10-12: 0.1
12 | Mercury (Hg) | mg/L | 4 | 4 | <0.0001 | <0.0001 | <0.0001 | 2015-01-19: <0.0001; 2015-04-10: <0.0001; 2015-07-06: <0.0001; 2015-10-12: <0.0001
13 | Nitrate + Nitrite (oxidised Nitrogen) | mg/L | 4 | 4 | 0.1 | 0.18 | 0.13 | 2015-01-19: <0.1; 2015-04-10: 0.18; 2015-07-06: 0.14; 2015-10-12: 0.11
14 | Nitrogen-Ammonia | mg/L | 4 | 4 | <0.10 | 0.4 | 0.2 | 2015-01-19: 0.3; 2015-04-10: 0.4; 2015-07-06: <0.1; 2015-10-12: 0.1
15 | Organochlorine Pesticides | ug/L | 2 | 2 | <0.2 | <0.2 | <0.2 | 2015-01-19: <0.2; 2015-07-06: <0.2
16 | Phenols | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
17 | Polycyclic Aromatic Hydrocarbons | ug/L | 2 | 2 | <5 | <5 | <5 | bar: 2015-01-19; 2015-07-06
18 | Selenium (Se) | mg/L | 2 | 2 | <0.01 | <0.01 | <0.01 | 2015-01-19: <0.01; 2015-07-06: <0.01
19 | Total Dissolved Solids | mg/L | 4 | 4 | 290 | 590 | 377.5 | 2015-01-19: 290; 2015-04-10: 320; 2015-07-06: 590; 2015-10-12: 310
20 | Total Organic Carbon | mg/L | 4 | 4 | 7 | 13 | 10 | 2015-01-19: 10; 2015-04-10: 7; 2015-07-06: 10; 2015-10-12: 13
21 | Total Petroleum Hydrocarbons | ug/L | 2 | 2 | <260 | <260 | <260 | 2015-01-19: <260; 2015-07-06: <260
22 | Zinc (Zn) | mg/L | 2 | 2 | 0.02 | 0.02 | 0.02 | 2015-01-19: 0.02; 2015-07-06: 0.02
23 | pH | pH | 12 | 12 | 6.8 | 7.6 | 7.2583 | 7.2 | 6.8 | 7.1 | 7.3 | 7.5 | 7.4 | 7.4 | 7.6 | 7.1 | 7 | 7.3 | 7.4
Sampling frequency
Every month
Every 3 months
Every 6 months