## MP1
Benedict Industries Pty Limited | [7 empty] | 2017 Annual
Moorebank - 146 Newbridge Road, Moorebank NSW 2170
EPA Licence No: 4612
Water Monitoring Requirements:
Grab samples are required to be taken every 3/6 months.
Location of Monitoring Points:
Monitoring Point 1: | Boreholes labelled on map titled "Location Plan" submitted to the EPA on 14 March 2003.
Summary of Results:
| Pollutant | Unit of Measure | 100 Percentile Concentration Limit | No. of Samples Required by Licence | No. of Samples Collected & Analysed | Lowest sample value | Highest sample value | Mean of samples | Sample Date
[9 empty] | 2017-01-13 | 2017-02-13 | 2017-03-10 | 2017-04-10 | 2017-05-12 | 2017-06-26 | 2017-07-20 | 2017-08-31 | 2017-09-07 | 2017-10-09 | 2017-11-06 | 2017-12-18
| Alkalinity (as CaCO3) | mg/L | No limits apply - sampling for monitoring purposes only | 4 | 4 | 190 | 270 | 223.75 | 2017-01-13: 235; 2017-04-10: 190; 2017-07-20: 270; 2017-10-09: 200
| Aluminium (Al) | mg/L |  | 2 | 2 | 0.05 | 0.1 | 0.075 | 2017-01-13: 0.1; 2017-07-20: 0.05
| Arsenic (As) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Barium (Ba) | mg/L |  | 2 | 2 | 0.05 | 0.1 | 0.075 | 2017-01-13: 0.1; 2017-07-20: 0.05
| Cadmium (Cd) | mg/L |  | 2 | 2 | 0.0005 | 0.01 | 0.00525 | 2017-01-13: 0.01; 2017-07-20: 0.0005
| Chromium (Cr) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Conductivity | uS/cm |  | 4 | 4 | 13200 | 20200 | 16400 | 2017-01-13: 20200; 2017-04-10: 14500; 2017-07-20: 13200; 2017-10-09: 17700
| Copper (Cu) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Iron (Fe) | mg/L |  | 2 | 2 | 0.04 | 0.08 | 0.06 | 2017-01-13: 0.08; 2017-07-20: 0.04
| Lead (Pb) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Manganese (Mn) | mg/L |  | 4 | 4 | 0.01 | 0.12 | 0.0675 | 2017-01-13: 0.01; 2017-04-10: 0.07; 2017-07-20: 0.07; 2017-10-09: 0.12
| Mercury (Hg) | mg/L |  | 4 | 4 | 5e-05 | 5e-05 | 5e-05 | 2017-01-13: 5e-05; 2017-04-10: 5e-05; 2017-07-20: 5e-05; 2017-10-09: 5e-05
| Nitrate + Nitrite (oxidised Nitrogen) | mg/L |  | 4 | 4 | 0.1 | 0.19 | 0.1225 | 2017-01-13: 0.1; 2017-04-10: 0.1; 2017-07-20: 0.1; 2017-10-09: 0.19
| Nitrogen-Ammonia | mg/L |  | 4 | 4 | 0.1 | 0.2 | 0.15 | 2017-01-13: 0.1; 2017-04-10: 0.1; 2017-07-20: 0.2; 2017-10-09: 0.2
| Organochlorine Pesticides | ug/L |  | 2 | 2 | 0.1 | 0.2 | 0.15 | 2017-01-13: 0.2; 2017-07-20: 0.1
| Phenols | mg/L |  | 2 | 2 | 0.05 | 0.1 | 0.075 | 2017-01-13: 0.1; 2017-07-20: 0.05
| Polycyclic Aromatic Hydrocarbons | ug/L |  | 2 | 2 | 2.5 | 5 | 3.75 | 2017-01-13: 5; 2017-07-20: 2.5
| Selenium (Se) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Total Dissolved Solids | mg/L |  | 4 | 4 | 8660 | 13100 | 10712.5 | 2017-01-13: 13100; 2017-04-10: 9490; 2017-07-20: 8660; 2017-10-09: 11600
| Total Organic Carbon | mg/L |  | 4 | 4 | 1 | 15 | 9.5 | 2017-01-13: 1; 2017-04-10: 11; 2017-07-20: 11; 2017-10-09: 15
| Total Petroleum Hydrocarbons | ug/L |  | 2 | 2 | 50 | 100 | 75 | 2017-01-13: 100; 2017-07-20: 50
| Zinc (Zn) | mg/L |  | 2 | 2 | 0.005 | 0.06 | 0.0325 | 2017-01-13: 0.06; 2017-07-20: 0.005
| pH | pH |  | 12 | 12 | 7.4 | 8.1 | 7.7833 | 7.8 | 8.1 | 7.4 | 7.8 | 7.7 | 7.7 | 7.7 | 8 | 7.7 | 8 | 7.5 | 8
Sampling frequency
Every month
Every 3 months
Every 6 months

## MP2
Benedict Industries Pty Limited | [7 empty] | 2017 Annual
Moorebank - 146 Newbridge Road, Moorebank NSW 2170
EPA Licence No: 4612
Water Monitoring Requirements:
Grab samples are required to be taken every 3/6 months.
Location of Monitoring Points:
Monitoring Point 2: | Boreholes labelled on map titled "Location Plan" submitted to the EPA on 14 March 2003.
Summary of Results:
| Pollutant | Unit of Measure | 100 Percentile Concentration Limit | No. of Samples Required by Licence | No. of Samples Collected & Analysed | Lowest sample value | Highest sample value | Mean of samples | Sample Date
[9 empty] | 2017-01-13 | 2017-02-13 | 2017-03-10 | 2017-04-10 | 2017-05-12 | 2017-06-26 | 2017-07-20 | 2017-08-31 | 2017-09-07 | 2017-10-09 | 2017-11-06 | 2017-12-18
| Alkalinity (as CaCO3) | mg/L | No limits apply - sampling for monitoring purposes only | 4 | 4 | 190 | 265 | 222.5 | 2017-01-13: 190; 2017-04-10: 215; 2017-07-20: 220; 2017-10-09: 265
| Aluminium (Al) | mg/L |  | 2 | 2 | 0.05 | 0.1 | 0.075 | 2017-01-13: 0.1; 2017-07-20: 0.05
| Arsenic (As) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Barium (Ba) | mg/L |  | 2 | 2 | 0.1 | 0.1 | 0.1 | 2017-01-13: 0.1; 2017-07-20: 0.1
| Cadmium (Cd) | mg/L |  | 2 | 2 | 0.0005 | 0.01 | 0.00525 | 2017-01-13: 0.01; 2017-07-20: 0.0005
| Chromium (Cr) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Conductivity | uS/cm |  | 4 | 4 | 13100 | 20200 | 16275 | 2017-01-13: 20200; 2017-04-10: 13100; 2017-07-20: 14000; 2017-10-09: 17800
| Copper (Cu) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Iron (Fe) | mg/L |  | 2 | 2 | 0.04 | 0.05 | 0.045 | 2017-01-13: 0.05; 2017-07-20: 0.04
| Lead (Pb) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Manganese (Mn) | mg/L |  | 4 | 4 | 0.01 | 0.08 | 0.06 | 2017-01-13: 0.01; 2017-04-10: 0.08; 2017-07-20: 0.07; 2017-10-09: 0.08
| Mercury (Hg) | mg/L |  | 4 | 4 | 5e-05 | 5e-05 | 5e-05 | 2017-01-13: 5e-05; 2017-04-10: 5e-05; 2017-07-20: 5e-05; 2017-10-09: 5e-05
| Nitrate + Nitrite (oxidised Nitrogen) | mg/L |  | 4 | 4 | 0.1 | 0.2 | 0.125 | 2017-01-13: 0.1; 2017-04-10: 0.1; 2017-07-20: 0.1; 2017-10-09: 0.2
| Nitrogen-Ammonia | mg/L |  | 4 | 4 | 0.1 | 0.3 | 0.175 | 2017-01-13: 0.1; 2017-04-10: 0.1; 2017-07-20: 0.2; 2017-10-09: 0.3
| Organochlorine Pesticides | ug/L |  | 2 | 2 | 0.1 | 0.2 | 0.15 | 2017-01-13: 0.2; 2017-07-20: 0.1
| Phenols | mg/L |  | 2 | 2 | 0.05 | 0.1 | 0.075 | 2017-01-13: 0.1; 2017-07-20: 0.05
| Polycyclic Aromatic Hydrocarbons | ug/L |  | 2 | 2 | 2.5 | 5 | 3.75 | 2017-01-13: 5; 2017-07-20: 2.5
| Selenium (Se) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Total Dissolved Solids | mg/L |  | 4 | 4 | 8610 | 13100 | 10645 | 2017-01-13: 13100; 2017-04-10: 8610; 2017-07-20: 9170; 2017-10-09: 11700
| Total Organic Carbon | mg/L |  | 4 | 4 | 1 | 13 | 8.75 | 2017-01-13: 1; 2017-04-10: 10; 2017-07-20: 11; 2017-10-09: 13
| Total Petroleum Hydrocarbons | ug/L |  | 2 | 2 | 50 | 100 | 75 | 2017-01-13: 100; 2017-07-20: 50
| Zinc (Zn) | mg/L |  | 2 | 2 | 0.005 | 0.04 | 0.0225 | 2017-01-13: 0.04; 2017-07-20: 0.005
| pH | pH |  | 12 | 12 | 7.5 | 8.2 | 7.8167 | 8 | 8.2 | 7.6 | 8 | 7.7 | 7.7 | 7.8 | 7.8 | 7.7 | 7.8 | 7.5 | 8
Sampling frequency
Every month
Every 3 months
Every 6 months

## MP3
Benedict Industries Pty Limited | [7 empty] | 2017 Annual
Moorebank - 146 Newbridge Road, Moorebank NSW 2170
EPA Licence No: 4612
Water Monitoring Requirements:
Grab samples are required to be taken every 3/6 months.
Location of Monitoring Points:
Monitoring Point 3: | Boreholes labelled on map titled "Location Plan" submitted to the EPA on 14 March 2003.
Summary of Results:
| Pollutant | Unit of Measure | 100 Percentile Concentration Limit | No. of Samples Required by Licence | No. of Samples Collected & Analysed | Lowest sample value | Highest sample value | Mean of samples | Sample Date
[9 empty] | 2017-01-13 | 2017-02-13 | 2017-03-10 | 2017-04-10 | 2017-05-12 | 2017-06-26 | 2017-07-20 | 2017-08-31 | 2017-09-07 | 2017-10-09 | 2017-11-06 | 2017-12-18
| Alkalinity (as CaCO3) | mg/L | No limits apply - sampling for monitoring purposes only | 4 | 4 | 10 | 90 | 52 | 2017-01-13: 10; 2017-04-10: 76; 2017-07-20: 32; 2017-10-09: 90
| Aluminium (Al) | mg/L |  | 2 | 2 | 0.2 | 0.4 | 0.3 | 2017-01-13: 0.2; 2017-07-20: 0.4
| Arsenic (As) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Barium (Ba) | mg/L |  | 2 | 2 | 0.05 | 0.1 | 0.075 | 2017-01-13: 0.1; 2017-07-20: 0.05
| Cadmium (Cd) | mg/L |  | 2 | 2 | 0.0005 | 0.01 | 0.00525 | 2017-01-13: 0.01; 2017-07-20: 0.0005
| Chromium (Cr) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Conductivity | uS/cm |  | 4 | 4 | 8400 | 17800 | 13525 | 2017-01-13: 8400; 2017-04-10: 13800; 2017-07-20: 17800; 2017-10-09: 14100
| Copper (Cu) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Iron (Fe) | mg/L |  | 2 | 2 | 0.1 | 2.9 | 1.5 | 2017-01-13: 0.1; 2017-07-20: 2.9
| Lead (Pb) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Manganese (Mn) | mg/L |  | 4 | 4 | 0.05 | 0.13 | 0.0925 | 2017-01-13: 0.11; 2017-04-10: 0.08; 2017-07-20: 0.13; 2017-10-09: 0.05
| Mercury (Hg) | mg/L |  | 4 | 4 | 5e-05 | 5e-05 | 5e-05 | 2017-01-13: 5e-05; 2017-04-10: 5e-05; 2017-07-20: 5e-05; 2017-10-09: 5e-05
| Nitrate + Nitrite (oxidised Nitrogen) | mg/L |  | 4 | 4 | 0.05 | 0.05 | 0.05 | 2017-01-13: 0.05; 2017-04-10: 0.05; 2017-07-20: 0.05; 2017-10-09: 0.05
| Nitrogen-Ammonia | mg/L |  | 4 | 4 | 0.1 | 1.5 | 1 | 2017-01-13: 0.1; 2017-04-10: 0.9; 2017-07-20: 1.5; 2017-10-09: 1.5
| Organochlorine Pesticides | ug/L |  | 2 | 2 | 0.1 | 0.2 | 0.15 | 2017-01-13: 0.2; 2017-07-20: 0.1
| Phenols | mg/L |  | 2 | 2 | 0.05 | 0.1 | 0.075 | 2017-01-13: 0.1; 2017-07-20: 0.05
| Polycyclic Aromatic Hydrocarbons | ug/L |  | 2 | 2 | 2.5 | 5 | 3.75 | 2017-01-13: 5; 2017-07-20: 2.5
| Selenium (Se) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Total Dissolved Solids | mg/L |  | 4 | 4 | 5460 | 11700 | 8895 | 2017-01-13: 5460; 2017-04-10: 9030; 2017-07-20: 11700; 2017-10-09: 9390
| Total Organic Carbon | mg/L |  | 4 | 4 | 5 | 17 | 9.75 | 2017-01-13: 5; 2017-04-10: 7; 2017-07-20: 10; 2017-10-09: 17
| Total Petroleum Hydrocarbons | ug/L |  | 2 | 2 | 50 | 100 | 75 | 2017-01-13: 100; 2017-07-20: 50
| Zinc (Zn) | mg/L |  | 2 | 2 | 0.04 | 0.13 | 0.085 | 2017-01-13: 0.13; 2017-07-20: 0.04
| pH | pH |  | 12 | 12 | 4.2 | 5.9 | 5.2167 | 5.1 | 5.2 | 4.3 | 4.7 | 4.2 | 4.4 | 5.5 | 5.9 | 5.8 | 5.9 | 5.9 | 5.7
Sampling frequency
Every month
Every 3 months
Every 6 months

## MP4
Benedict Industries Pty Limited | [7 empty] | 2017 Annual
Moorebank - 146 Newbridge Road, Moorebank NSW 2170
EPA Licence No: 4612
Water Monitoring Requirements:
Grab samples are required to be taken every 3/6 months.
Location of Monitoring Points:
Monitoring Point 4: | Boreholes labelled on map titled "Location Plan" submitted to the EPA on 14 March 2003.
Summary of Results:
| Pollutant | Unit of Measure | 100 Percentile Concentration Limit | No. of Samples Required by Licence | No. of Samples Collected & Analysed | Lowest sample value | Highest sample value | Mean of samples | Sample Date
[9 empty] | 2017-01-13 | 2017-02-13 | 2017-03-10 | 2017-04-10 | 2017-05-12 | 2017-06-26 | 2017-07-20 | 2017-08-31 | 2017-09-07 | 2017-10-09 | 2017-11-06 | 2017-12-18
| Alkalinity (as CaCO3) | mg/L | No limits apply - sampling for monitoring purposes only | 4 | 4 | 160 | 215 | 190 | 2017-01-13: 160; 2017-04-10: 180; 2017-07-20: 205; 2017-10-09: 215
| Aluminium (Al) | mg/L |  | 2 | 2 | 0.05 | 0.1 | 0.075 | 2017-01-13: 0.1; 2017-07-20: 0.05
| Arsenic (As) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Barium (Ba) | mg/L |  | 2 | 2 | 0.05 | 0.1 | 0.075 | 2017-01-13: 0.1; 2017-07-20: 0.05
| Cadmium (Cd) | mg/L |  | 2 | 2 | 0.0005 | 0.01 | 0.00525 | 2017-01-13: 0.01; 2017-07-20: 0.0005
| Chromium (Cr) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Conductivity | uS/cm |  | 4 | 4 | 13000 | 16900 | 15675 | 2017-01-13: 16900; 2017-04-10: 13000; 2017-07-20: 16200; 2017-10-09: 16600
| Copper (Cu) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Iron (Fe) | mg/L |  | 2 | 2 | 0.65 | 0.99 | 0.82 | 2017-01-13: 0.65; 2017-07-20: 0.99
| Lead (Pb) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Manganese (Mn) | mg/L |  | 4 | 4 | 0.26 | 0.33 | 0.2925 | 2017-01-13: 0.31; 2017-04-10: 0.26; 2017-07-20: 0.33; 2017-10-09: 0.27
| Mercury (Hg) | mg/L |  | 4 | 4 | 5e-05 | 5e-05 | 5e-05 | 2017-01-13: 5e-05; 2017-04-10: 5e-05; 2017-07-20: 5e-05; 2017-10-09: 5e-05
| Nitrate + Nitrite (oxidised Nitrogen) | mg/L |  | 4 | 4 | 0.05 | 0.05 | 0.05 | 2017-01-13: 0.05; 2017-04-10: 0.05; 2017-07-20: 0.05; 2017-10-09: 0.05
| Nitrogen-Ammonia | mg/L |  | 4 | 4 | 1.7 | 2.9 | 2.375 | 2017-01-13: 2.3; 2017-04-10: 1.7; 2017-07-20: 2.9; 2017-10-09: 2.6
| Organochlorine Pesticides | ug/L |  | 2 | 2 | 0.1 | 0.2 | 0.15 | 2017-01-13: 0.2; 2017-07-20: 0.1
| Phenols | mg/L |  | 2 | 2 | 0.05 | 0.1 | 0.075 | 2017-01-13: 0.1; 2017-07-20: 0.05
| Polycyclic Aromatic Hydrocarbons | ug/L |  | 2 | 2 | 2.5 | 5 | 3.75 | 2017-01-13: 5; 2017-07-20: 2.5
| Selenium (Se) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Total Dissolved Solids | mg/L |  | 4 | 4 | 8550 | 11000 | 10237.5 | 2017-01-13: 11000; 2017-04-10: 8550; 2017-07-20: 10600; 2017-10-09: 10800
| Total Organic Carbon | mg/L |  | 4 | 4 | 1 | 14 | 8.25 | 2017-01-13: 1; 2017-04-10: 7; 2017-07-20: 11; 2017-10-09: 14
| Total Petroleum Hydrocarbons | ug/L |  | 2 | 2 | 50 | 100 | 75 | 2017-01-13: 100; 2017-07-20: 50
| Zinc (Zn) | mg/L |  | 2 | 2 | 0.01 | 0.04 | 0.025 | 2017-01-13: 0.04; 2017-07-20: 0.01
| pH | pH |  | 12 | 12 | 6.3 | 6.6 | 6.45 | 6.3 | 6.3 | 6.4 | 6.5 | 6.4 | 6.5 | 6.6 | 6.6 | 6.4 | 6.5 | 6.4 | 6.5
Sampling frequency
Every month
Every 3 months
Every 6 months

## MP5
Benedict Industries Pty Limited | [7 empty] | 2017 Annual
Moorebank - 146 Newbridge Road, Moorebank NSW 2170
EPA Licence No: 4612
Water Monitoring Requirements:
Grab samples are required to be taken every 3/6 months.
Location of Monitoring Points:
Monitoring Point 5: | Boreholes labelled on map titled "Location Plan" submitted to the EPA on 14 March 2003.
Summary of Results:
| Pollutant | Unit of Measure | 100 Percentile Concentration Limit | No. of Samples Required by Licence | No. of Samples Collected & Analysed | Lowest sample value | Highest sample value | Mean of samples | Sample Date
[9 empty] | 2017-01-13 | 2017-02-13 | 2017-03-10 | 2017-04-10 | 2017-05-12 | 2017-06-26 | 2017-07-20 | 2017-08-31 | 2017-09-07 | 2017-10-09 | 2017-11-06 | 2017-12-18
| Alkalinity (as CaCO3) | mg/L | No limits apply - sampling for monitoring purposes only | 4 | 4 | 0.5 | 0.5 | 0.5 | 2017-01-13: 0.5; 2017-04-10: 0.5; 2017-07-20: 0.5; 2017-10-09: 0.5
| Aluminium (Al) | mg/L |  | 2 | 2 | 7.5 | 14 | 10.75 | 2017-01-13: 7.5; 2017-07-20: 14
| Arsenic (As) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Barium (Ba) | mg/L |  | 2 | 2 | 0.05 | 0.1 | 0.075 | 2017-01-13: 0.1; 2017-07-20: 0.05
| Cadmium (Cd) | mg/L |  | 2 | 2 | 0.0005 | 0.01 | 0.00525 | 2017-01-13: 0.01; 2017-07-20: 0.0005
| Chromium (Cr) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Conductivity | uS/cm |  | 4 | 4 | 2510 | 4220 | 3175 | 2017-01-13: 2510; 2017-04-10: 2590; 2017-07-20: 3380; 2017-10-09: 4220
| Copper (Cu) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Iron (Fe) | mg/L |  | 2 | 2 | 19 | 61 | 40 | 2017-01-13: 19; 2017-07-20: 61
| Lead (Pb) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Manganese (Mn) | mg/L |  | 4 | 4 | 4 | 8.1 | 6.25 | 2017-01-13: 4.9; 2017-04-10: 8.1; 2017-07-20: 8; 2017-10-09: 4
| Mercury (Hg) | mg/L |  | 4 | 4 | 5e-05 | 5e-05 | 5e-05 | 2017-01-13: 5e-05; 2017-04-10: 5e-05; 2017-07-20: 5e-05; 2017-10-09: 5e-05
| Nitrate + Nitrite (oxidised Nitrogen) | mg/L |  | 4 | 4 | 0.05 | 0.95 | 0.3875 | 2017-01-13: 0.95; 2017-04-10: 0.5; 2017-07-20: 0.05; 2017-10-09: 0.05
| Nitrogen-Ammonia | mg/L |  | 4 | 4 | 1.6 | 5.9 | 3.75 | 2017-01-13: 1.6; 2017-04-10: 2.1; 2017-07-20: 5.9; 2017-10-09: 5.4
| Organochlorine Pesticides | ug/L |  | 2 | 2 | 0.1 | 0.2 | 0.15 | 2017-01-13: 0.2; 2017-07-20: 0.1
| Phenols | mg/L |  | 2 | 2 | 0.05 | 0.1 | 0.075 | 2017-01-13: 0.1; 2017-07-20: 0.05
| Polycyclic Aromatic Hydrocarbons | ug/L |  | 2 | 2 | 2.5 | 5 | 3.75 | 2017-01-13: 5; 2017-07-20: 2.5
| Selenium (Se) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Total Dissolved Solids | mg/L |  | 4 | 4 | 1640 | 2750 | 2077.5 | 2017-01-13: 1640; 2017-04-10: 1700; 2017-07-20: 2220; 2017-10-09: 2750
| Total Organic Carbon | mg/L |  | 4 | 4 | 11 | 48 | 23 | 2017-01-13: 11; 2017-04-10: 12; 2017-07-20: 21; 2017-10-09: 48
| Total Petroleum Hydrocarbons | ug/L |  | 2 | 2 | 50 | 100 | 75 | 2017-01-13: 100; 2017-07-20: 50
| Zinc (Zn) | mg/L |  | 2 | 2 | 1 | 1.8 | 1.4 | 2017-01-13: 1; 2017-07-20: 1.8
| pH | pH |  | 12 | 12 | 3 | 4.6 | 4.0417 | 4.1 | 4 | 3.7 | 3.8 | 4.3 | 4.6 | 4.4 | 4.1 | 3 | 4.4 | 4.3 | 3.8
Sampling frequency
Every month
Every 3 months
Every 6 months

## MP7
Benedict Industries Pty Limited | [7 empty] | 2017 Annual
Moorebank - 146 Newbridge Road, Moorebank NSW 2170
EPA Licence No: 4612
Water Monitoring Requirements:
Grab samples are required to be taken every 3/6 months.
Location of Monitoring Points:
Monitoring Point 7: | Boreholes labelled on map titled "Location Plan" submitted to the EPA on 14 March 2003.
Summary of Results:
| Pollutant | Unit of Measure | 100 Percentile Concentration Limit | No. of Samples Required by Licence | No. of Samples Collected & Analysed | Lowest sample value | Highest sample value | Mean of samples | Sample Date
[9 empty] | 2017-01-13 | 2017-02-13 | 2017-03-10 | 2017-04-10 | 2017-05-12 | 2017-06-26 | 2017-07-20 | 2017-08-31 | 2017-09-07 | 2017-10-09 | 2017-11-06 | 2017-12-18
| Alkalinity (as CaCO3) | mg/L | No limits apply - sampling for monitoring purposes only | 4 | 4 | 185 | 220 | 198.75 | 2017-01-13: 185; 2017-04-10: 200; 2017-07-20: 190; 2017-10-09: 220
| Aluminium (Al) | mg/L |  | 2 | 2 | 0.05 | 0.1 | 0.075 | 2017-01-13: 0.1; 2017-07-20: 0.05
| Arsenic (As) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Barium (Ba) | mg/L |  | 2 | 2 | 0.1 | 0.1 | 0.1 | 2017-01-13: 0.1; 2017-07-20: 0.1
| Cadmium (Cd) | mg/L |  | 2 | 2 | 0.0005 | 0.01 | 0.00525 | 2017-01-13: 0.01; 2017-07-20: 0.0005
| Chromium (Cr) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Conductivity | uS/cm |  | 4 | 4 | 10600 | 19400 | 14700 | 2017-01-13: 19400; 2017-04-10: 10600; 2017-07-20: 12900; 2017-10-09: 15900
| Copper (Cu) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Iron (Fe) | mg/L |  | 2 | 2 | 0.12 | 0.16 | 0.14 | 2017-01-13: 0.12; 2017-07-20: 0.16
| Lead (Pb) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Manganese (Mn) | mg/L |  | 4 | 4 | 0.02 | 0.14 | 0.1025 | 2017-01-13: 0.02; 2017-04-10: 0.14; 2017-07-20: 0.12; 2017-10-09: 0.13
| Mercury (Hg) | mg/L |  | 4 | 4 | 5e-05 | 5e-05 | 5e-05 | 2017-01-13: 5e-05; 2017-04-10: 5e-05; 2017-07-20: 5e-05; 2017-10-09: 5e-05
| Nitrate + Nitrite (oxidised Nitrogen) | mg/L |  | 4 | 4 | 0.05 | 0.13 | 0.095 | 2017-01-13: 0.1; 2017-04-10: 0.1; 2017-07-20: 0.05; 2017-10-09: 0.13
| Nitrogen-Ammonia | mg/L |  | 4 | 4 | 0.1 | 0.9 | 0.375 | 2017-01-13: 0.1; 2017-04-10: 0.1; 2017-07-20: 0.4; 2017-10-09: 0.9
| Organochlorine Pesticides | ug/L |  | 2 | 2 | 0.1 | 0.2 | 0.15 | 2017-01-13: 0.2; 2017-07-20: 0.1
| Phenols | mg/L |  | 2 | 2 | 0.05 | 0.1 | 0.075 | 2017-01-13: 0.1; 2017-07-20: 0.05
| Polycyclic Aromatic Hydrocarbons | ug/L |  | 2 | 2 | 2.5 | 5 | 3.75 | 2017-01-13: 5; 2017-07-20: 2.5
| Selenium (Se) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Total Dissolved Solids | mg/L |  | 4 | 4 | 6900 | 12700 | 9610 | 2017-01-13: 12700; 2017-04-10: 6900; 2017-07-20: 8440; 2017-10-09: 10400
| Total Organic Carbon | mg/L |  | 4 | 4 | 1 | 14 | 9 | 2017-01-13: 1; 2017-04-10: 10; 2017-07-20: 11; 2017-10-09: 14
| Total Petroleum Hydrocarbons | ug/L |  | 2 | 2 | 50 | 100 | 75 | 2017-01-13: 100; 2017-07-20: 50
| Zinc (Zn) | mg/L |  | 2 | 2 | 0.005 | 0.04 | 0.0225 | 2017-01-13: 0.04; 2017-07-20: 0.005
| pH | pH |  | 12 | 12 | 6.8 | 7.9 | 7.2833 | 7.6 | 7.9 | 7.3 | 7.5 | 7.4 | 7.4 | 6.8 | 6.8 | 7.3 | 7.4 | 6.8 | 7.2
Sampling frequency
Every month
Every 3 months
Every 6 months

## MP8
Benedict Industries Pty Limited | [7 empty] | 2017 Annual
Moorebank - 146 Newbridge Road, Moorebank NSW 2170
EPA Licence No: 4612
Water Monitoring Requirements:
Grab samples are required to be taken every 3/6 months.
Location of Monitoring Points:
Monitoring Point 8: | Boreholes labelled on map titled "Location Plan" submitted to the EPA on 14 March 2003.
Summary of Results:
| Pollutant | Unit of Measure | 100 Percentile Concentration Limit | No. of Samples Required by Licence | No. of Samples Collected & Analysed | Lowest sample value | Highest sample value | Mean of samples | Sample Date
[9 empty] | 2017-01-13 | 2017-02-13 | 2017-03-10 | 2017-04-10 | 2017-05-12 | 2017-06-26 | 2017-07-20 | 2017-08-31 | 2017-09-07 | 2017-10-09 | 2017-11-06 | 2017-12-18
| Alkalinity (as CaCO3) | mg/L | No limits apply - sampling for monitoring purposes only | 4 | 4 | 62 | 120 | 93.25 | 2017-01-13: 120; 2017-04-10: 86; 2017-07-20: 62; 2017-10-09: 105
| Aluminium (Al) | mg/L |  | 2 | 2 | 0.05 | 0.1 | 0.075 | 2017-01-13: 0.1; 2017-07-20: 0.05
| Arsenic (As) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Barium (Ba) | mg/L |  | 2 | 2 | 0.05 | 0.1 | 0.075 | 2017-01-13: 0.1; 2017-07-20: 0.05
| Cadmium (Cd) | mg/L |  | 2 | 2 | 0.0005 | 0.01 | 0.00525 | 2017-01-13: 0.01; 2017-07-20: 0.0005
| Chromium (Cr) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Conductivity | uS/cm |  | 4 | 4 | 750 | 50500 | 26137.5 | 2017-01-13: 37600; 2017-04-10: 750; 2017-07-20: 15700; 2017-10-09: 50500
| Copper (Cu) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Iron (Fe) | mg/L |  | 2 | 2 | 0.08 | 0.2 | 0.14 | 2017-01-13: 0.2; 2017-07-20: 0.08
| Lead (Pb) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Manganese (Mn) | mg/L |  | 4 | 4 | 0.02 | 0.04 | 0.025 | 2017-01-13: 0.02; 2017-04-10: 0.04; 2017-07-20: 0.02; 2017-10-09: 0.02
| Mercury (Hg) | mg/L |  | 4 | 4 | 5e-05 | 5e-05 | 5e-05 | 2017-01-13: 5e-05; 2017-04-10: 5e-05; 2017-07-20: 5e-05; 2017-10-09: 5e-05
| Nitrate + Nitrite (oxidised Nitrogen) | mg/L |  | 4 | 4 | 0.05 | 0.84 | 0.3125 | 2017-01-13: 0.12; 2017-04-10: 0.84; 2017-07-20: 0.24; 2017-10-09: 0.05
| Nitrogen-Ammonia | mg/L |  | 4 | 4 | 0.05 | 0.2 | 0.1 | 2017-01-13: 0.1; 2017-04-10: 0.2; 2017-07-20: 0.05; 2017-10-09: 0.05
| Organochlorine Pesticides | ug/L |  | 2 | 2 | 0.1 | 0.2 | 0.15 | 2017-01-13: 0.2; 2017-07-20: 0.1
| Phenols | mg/L |  | 2 | 2 | 0.05 | 0.1 | 0.075 | 2017-01-13: 0.1; 2017-07-20: 0.05
| Polycyclic Aromatic Hydrocarbons | ug/L |  | 2 | 2 | 2.5 | 5 | 3.75 | 2017-01-13: 5; 2017-07-20: 2.5
| Selenium (Se) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Total Dissolved Solids | mg/L |  | 4 | 4 | 480 | 32900 | 17020 | 2017-01-13: 24500; 2017-04-10: 480; 2017-07-20: 10200; 2017-10-09: 32900
| Total Organic Carbon | mg/L |  | 4 | 4 | 0.5 | 8 | 3.125 | 2017-01-13: 1; 2017-04-10: 8; 2017-07-20: 3; 2017-10-09: 0.5
| Total Petroleum Hydrocarbons | ug/L |  | 2 | 2 | 50 | 100 | 75 | 2017-01-13: 100; 2017-07-20: 50
| Zinc (Zn) | mg/L |  | 2 | 2 | 0.005 | 0.05 | 0.0275 | 2017-01-13: 0.05; 2017-07-20: 0.005
| pH | pH |  | 12 | 12 | 6.9 | 7.5 | 7.125 | 7.2 | 7.2 | 7.1 | 7.5 | 7.1 | 7.2 | 6.9 | 6.9 | 7.1 | 7.2 | 7 | 7.1
Sampling frequency
Every month
Every 3 months
Every 6 months

## MP9
Benedict Industries Pty Limited | [7 empty] | 2017 Annual
Moorebank - 146 Newbridge Road, Moorebank NSW 2170
EPA Licence No: 4612
Water Monitoring Requirements:
Grab samples are required to be taken every 3/6 months.
Location of Monitoring Points:
Monitoring Point 9: | Boreholes labelled on map titled "Location Plan" submitted to the EPA on 14 March 2003.
Summary of Results:
| Pollutant | Unit of Measure | 100 Percentile Concentration Limit | No. of Samples Required by Licence | No. of Samples Collected & Analysed | Lowest sample value | Highest sample value | Mean of samples | Sample Date
[9 empty] | 2017-01-13 | 2017-02-13 | 2017-03-10 | 2017-04-10 | 2017-05-12 | 2017-06-26 | 2017-07-20 | 2017-08-31 | 2017-09-07 | 2017-10-09 | 2017-11-06
| Alkalinity (as CaCO3) | mg/L | No limits apply - sampling for monitoring purposes only | 4 | 4 | 67 | 140 | 103 | 2017-01-13: 100; 2017-04-10: 105; 2017-07-20: 67; 2017-10-09: 140
| Aluminium (Al) | mg/L |  | 2 | 2 | 0.05 | 0.1 | 0.075 | 2017-01-13: 0.1; 2017-07-20: 0.05
| Arsenic (As) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Barium (Ba) | mg/L |  | 2 | 2 | 0.05 | 0.1 | 0.075 | 2017-01-13: 0.1; 2017-07-20: 0.05
| Cadmium (Cd) | mg/L |  | 2 | 2 | 0.0005 | 0.01 | 0.00525 | 2017-01-13: 0.01; 2017-07-20: 0.0005
| Chromium (Cr) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Conductivity | uS/cm |  | 4 | 4 | 780 | 52800 | 28745 | 2017-01-13: 45600; 2017-04-10: 780; 2017-07-20: 15800; 2017-10-09: 52800
| Copper (Cu) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Iron (Fe) | mg/L |  | 2 | 2 | 0.09 | 0.18 | 0.135 | 2017-01-13: 0.18; 2017-07-20: 0.09
| Lead (Pb) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Manganese (Mn) | mg/L |  | 4 | 4 | 0.02 | 0.03 | 0.025 | 2017-01-13: 0.03; 2017-04-10: 0.03; 2017-07-20: 0.02; 2017-10-09: 0.02
| Mercury (Hg) | mg/L |  | 4 | 4 | 5e-05 | 5e-05 | 5e-05 | 2017-01-13: 5e-05; 2017-04-10: 5e-05; 2017-07-20: 5e-05; 2017-10-09: 5e-05
| Nitrate + Nitrite (oxidised Nitrogen) | mg/L |  | 4 | 4 | 0.05 | 0.83 | 0.305 | 2017-01-13: 0.1; 2017-04-10: 0.83; 2017-07-20: 0.24; 2017-10-09: 0.05
| Nitrogen-Ammonia | mg/L |  | 4 | 4 | 0.05 | 0.2 | 0.1 | 2017-01-13: 0.1; 2017-04-10: 0.2; 2017-07-20: 0.05; 2017-10-09: 0.05
| Organochlorine Pesticides | ug/L |  | 2 | 2 | 0.1 | 0.2 | 0.15 | 2017-01-13: 0.2; 2017-07-20: 0.1
| Phenols | mg/L |  | 2 | 2 | 0.05 | 0.1 | 0.075 | 2017-01-13: 0.1; 2017-07-20: 0.05
| Polycyclic Aromatic Hydrocarbons | ug/L |  | 2 | 2 | 2.5 | 5 | 3.75 | 2017-01-13: 5; 2017-07-20: 2.5
| Selenium (Se) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Total Dissolved Solids | mg/L |  | 4 | 4 | 510 | 34500 | 18727.5 | 2017-01-13: 29600; 2017-04-10: 510; 2017-07-20: 10300; 2017-10-09: 34500
| Total Organic Carbon | mg/L |  | 4 | 4 | 0.5 | 7 | 3.125 | 2017-01-13: 1; 2017-04-10: 7; 2017-07-20: 4; 2017-10-09: 0.5
| Total Petroleum Hydrocarbons | ug/L |  | 2 | 2 | 50 | 100 | 75 | 2017-01-13: 100; 2017-07-20: 50
| Zinc (Zn) | mg/L |  | 2 | 2 | 0.005 | 0.1 | 0.0525 | 2017-01-13: 0.1; 2017-07-20: 0.005
| pH | pH |  | 11 | 11 | 6.9 | 7.3 | 7.1 | 7.1 | 7.1 | 7 | 7.3 | 7.1 | 7.1 | 7.2 | 6.9 | 7.2 | 7.2 | 6.9
Sampling frequency
Every month
Every 3 months
Every 6 months

## MP10
Benedict Industries Pty Limited | [7 empty] | 2017 Annual
Moorebank - 146 Newbridge Road, Moorebank NSW 2170
EPA Licence No: 4612
Water Monitoring Requirements:
Grab samples are required to be taken every 3/6 months.
Location of Monitoring Points:
Monitoring Point 10: | Boreholes labelled on map titled "Location Plan" submitted to the EPA on 14 March 2003.
Summary of Results:
| Pollutant | Unit of Measure | 100 Percentile Concentration Limit | No. of Samples Required by Licence | No. of Samples Collected & Analysed | Lowest sample value | Highest sample value | Mean of samples | Sample Date
[9 empty] | 2017-01-13 | 2017-02-13 | 2017-03-10 | 2017-04-10 | 2017-05-12 | 2017-06-23 | 2017-07-20 | 2017-08-31 | 2017-09-07 | 2017-10-09 | 2017-11-06 | 2017-12-18
| Alkalinity (as CaCO3) | mg/L | No limits apply - sampling for monitoring purposes only | 4 | 4 | 96 | 240 | 157.75 | 2017-01-13: 110; 2017-04-10: 96; 2017-07-20: 185; 2017-10-09: 240
| Aluminium (Al) | mg/L |  | 2 | 2 | 0.05 | 0.1 | 0.075 | 2017-01-13: 0.1; 2017-07-20: 0.05
| Arsenic (As) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Barium (Ba) | mg/L |  | 2 | 2 | 0.05 | 0.1 | 0.075 | 2017-01-13: 0.1; 2017-07-20: 0.05
| Cadmium (Cd) | mg/L |  | 2 | 2 | 0.0005 | 0.01 | 0.00525 | 2017-01-13: 0.01; 2017-07-20: 0.0005
| Chromium (Cr) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Conductivity | uS/cm |  | 4 | 4 | 390 | 1480 | 932.5 | 2017-01-13: 720; 2017-04-10: 390; 2017-07-20: 1480; 2017-10-09: 1140
| Copper (Cu) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Iron (Fe) | mg/L |  | 2 | 2 | 0.09 | 0.14 | 0.115 | 2017-01-13: 0.14; 2017-07-20: 0.09
| Lead (Pb) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Manganese (Mn) | mg/L |  | 4 | 4 | 0.01 | 0.29 | 0.085 | 2017-01-13: 0.02; 2017-04-10: 0.01; 2017-07-20: 0.02; 2017-10-09: 0.29
| Mercury (Hg) | mg/L |  | 4 | 4 | 5e-05 | 5e-05 | 5e-05 | 2017-01-13: 5e-05; 2017-04-10: 5e-05; 2017-07-20: 5e-05; 2017-10-09: 5e-05
| Nitrate + Nitrite (oxidised Nitrogen) | mg/L |  | 4 | 4 | 0.05 | 0.52 | 0.23 | 2017-01-13: 0.17; 2017-04-10: 0.52; 2017-07-20: 0.18; 2017-10-09: 0.05
| Nitrogen-Ammonia | mg/L |  | 4 | 4 | 0.1 | 5.8 | 1.55 | 2017-01-13: 0.1; 2017-04-10: 0.1; 2017-07-20: 0.2; 2017-10-09: 5.8
| Organochlorine Pesticides | ug/L |  | 2 | 2 | 0.1 | 0.2 | 0.15 | 2017-01-13: 0.2; 2017-07-20: 0.1
| Phenols | mg/L |  | 2 | 2 | 0.05 | 0.1 | 0.075 | 2017-01-13: 0.1; 2017-07-20: 0.05
| Polycyclic Aromatic Hydrocarbons | ug/L |  | 2 | 2 | 2.5 | 5 | 3.75 | 2017-01-13: 5; 2017-07-20: 2.5
| Selenium (Se) | mg/L |  | 2 | 2 | 0.005 | 0.01 | 0.0075 | 2017-01-13: 0.01; 2017-07-20: 0.005
| Total Dissolved Solids | mg/L |  | 4 | 4 | 260 | 960 | 607.5 | 2017-01-13: 470; 2017-04-10: 260; 2017-07-20: 960; 2017-10-09: 740
| Total Organic Carbon | mg/L |  | 4 | 4 | 4 | 40 | 15 | 2017-01-13: 6; 2017-04-10: 4; 2017-07-20: 10; 2017-10-09: 40
| Total Petroleum Hydrocarbons | ug/L |  | 2 | 2 | 100 | 180 | 140 | 2017-01-13: 100; 2017-07-20: 180
| Zinc (Zn) | mg/L |  | 2 | 2 | 0.01 | 0.03 | 0.02 | 2017-01-13: 0.03; 2017-07-20: 0.01
| pH | pH |  | 12 | 12 | 7.1 | 7.7 | 7.375 | 7.6 | 7.7 | 7.3 | 7.4 | 7.7 | 7.5 | 7.4 | 7.3 | 7.1 | 7.2 | 7.2 | 7.1
Sampling frequency
Every month
Every 3 months
Every 6 months