## Jun - 2014
Benedict Industries Pty Ltd | [6 empty] | 2014-06-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Monitoring Point 2: | Below Basin 5 as identified in map attached to the "Sandy Point Quarry Stormwater and Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Monitoring Point 2: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period
Monitoring Point 2: | No discharge events during period

## Jul - 2014
Benedict Industries Pty Ltd | [6 empty] | 2014-07-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Monitoring Point 2: | Below Basin 5 as identified in map attached to the "Sandy Point Quarry Stormwater and Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Monitoring Point 2: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period
Monitoring Point 2: | No discharge events during period

## Aug - 2014
Benedict Industries Pty Ltd | [6 empty] | 2014-08-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Monitoring Point 2: | Below Basin 5 as identified in map attached to the "Sandy Point Quarry Stormwater and Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | 6.53 | 7.93 | 7.0067
| Total Suspended Solids | mg/L | 50 |  | 2 | 52 | 18.7778
| Turbidity | NTU | 50 |  | 4 | 73 | 34.7778
Monitoring Point 2: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | 6.7 | 7.94 | 7.268
| Total Suspended Solids | mg/L | 50 |  | 2 | 27 | 12
| Turbidity | NTU | 50 |  | 33 | 87 | 50.8
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | 2014-08-19 | pH | pH | 6 - 8.5 |  | 7.1 | N
|  | TSS | mg/L | 50 |  | 12 | N
|  | Turbidity | NTU | 50 |  | 37 | N
| 2014-08-20 | pH | pH | 6 - 8.5 |  | 6.9 | N
|  | TSS | mg/L | 50 |  | 3 | N
|  | Turbidity | NTU | 50 |  | 10 | N
| 2014-08-21 | pH | pH | 6 - 8.5 |  | 6.6 | N
|  | TSS | mg/L | 50 |  | 2 | N
|  | Turbidity | NTU | 50 |  | 4 | N
| 2014-08-22 | pH | pH | 6 - 8.5 |  | 7.3 | N
|  | TSS | mg/L | 50 |  | 11 | N
|  | Turbidity | NTU | 50 |  | 45 | N
| 2014-08-25 | pH | pH | 6 - 8.5 |  | 7.1 | N
|  | TSS | mg/L | 50 |  | 52 | Y
|  | Turbidity | NTU | 50 |  | 73 | Y
| 2014-08-26 | pH | pH | 6 - 8.5 |  | 6.9 | N
|  | TSS | mg/L | 50 |  | 12 | N
|  | Turbidity | NTU | 50 |  | 23 | N
| 2014-08-27 | pH | pH | 6 - 8.5 |  | 7.93 | N
|  | TSS | mg/L | 50 |  | 17 | N
|  | Turbidity | NTU | 50 |  | 38 | N
| 2014-08-28 | pH | pH | 6 - 8.5 |  | 6.53 | N
|  | TSS | mg/L | 50 |  | 30 | N
|  | Turbidity | NTU | 50 |  | 42 | N
| 2014-08-29 | pH | pH | 6 - 8.5 |  | 6.7 | N
|  | TSS | mg/L | 50 |  | 30 | N
|  | Turbidity | NTU | 50 |  | 41 | N
Monitoring Point 2: | 2014-08-19 | pH | pH | 6 - 8.5 |  | 7.4 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 39 | N
| 2014-08-20 | pH | pH | 6 - 8.5 |  | 7.3 | N
|  | TSS | mg/L | 50 |  | 7 | N
|  | Turbidity | NTU | 50 |  | 50 | N
| 2014-08-21 | pH | pH | 6 - 8.5 |  | 7 | N
|  | TSS | mg/L | 50 |  | 2 | N
|  | Turbidity | NTU | 50 |  | 33 | N
| 2014-08-27 | pH | pH | 6 - 8.5 |  | 7.94 | N
|  | TSS | mg/L | 50 |  | 27 | N
|  | Turbidity | NTU | 50 |  | 87 | Y
| 2014-08-28 | pH | pH | 6 - 8.5 |  | 6.7 | N
|  | TSS | mg/L | 50 |  | 14 | N
|  | Turbidity | NTU | 50 |  | 45 | N

## Sep - 2014
Benedict Industries Pty Ltd | [6 empty] | 2014-09-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Monitoring Point 2: | Below Basin 5 as identified in map attached to the "Sandy Point Quarry Stormwater and Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | 6.1 | 6.1 | 6.1
| Total Suspended Solids | mg/L | 50 |  | 25 | 25 | 25
| Turbidity | NTU | 50 |  | 40 | 40 | 40
Monitoring Point 2: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | 2014-09-09 | pH | pH | 6 - 8.5 |  | 6.1 | N
|  | TSS | mg/L | 50 |  | 25 | N
|  | Turbidity | NTU | 50 |  | 40 | N
Monitoring Point 2: | No discharge events during period

## Oct - 2014
Benedict Industries Pty Ltd | [6 empty] | 2014-10-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Monitoring Point 2: | Below Basin 5 as identified in map attached to the "Sandy Point Quarry Stormwater and Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | 6.1 | 7.32 | 6.6817
| Total Suspended Solids | mg/L | 50 |  | 10 | 25 | 16.8333
| Turbidity | NTU | 50 |  | 14 | 32.8 | 23.05
Monitoring Point 2: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | 6.84 | 6.84 | 6.84
| Total Suspended Solids | mg/L | 50 |  | 10 | 10 | 10
| Turbidity | NTU | 50 |  | 39.9 | 39.9 | 39.9
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | 2014-10-14 | pH | pH | 6 - 8.5 |  | 7.32 | N
|  | TSS | mg/L | 50 |  | 25 | N
|  | Turbidity | NTU | 50 |  | 31.4 | N
| 2014-10-15 | pH | pH | 6 - 8.5 |  | 7.03 | N
|  | TSS | mg/L | 50 |  | 18 | N
|  | Turbidity | NTU | 50 |  | 32.8 | N
| 2014-10-16 | pH | pH | 6 - 8.5 |  | 6.64 | N
|  | TSS | mg/L | 50 |  | 20 | N
|  | Turbidity | NTU | 50 |  | 27.1 | N
| 2014-10-17 | pH | pH | 6 - 8.5 |  | 6.1 | N
|  | TSS | mg/L | 50 |  | 18 | N
|  | Turbidity | NTU | 50 |  | 18 | N
| 2014-10-22 | pH | pH | 6 - 8.5 |  | 6.2 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 14 | N
| 2014-10-24 | pH | pH | 6 - 8.5 |  | 6.8 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 15 | N
Monitoring Point 2: | 2014-10-16 | pH | pH | 6 - 8.5 |  | 6.84 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 39.9 | N

## Nov - 2014
Benedict Industries Pty Ltd | [6 empty] | 2014-11-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Monitoring Point 2: | Below Basin 5 as identified in map attached to the "Sandy Point Quarry Stormwater and Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Monitoring Point 2: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period
Monitoring Point 2: | No discharge events during period

## Dec - 2014
Benedict Industries Pty Ltd | [6 empty] | 2014-12-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Monitoring Point 2: | Below Basin 5 as identified in map attached to the "Sandy Point Quarry Stormwater and Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | 6.74 | 6.84 | 6.79
| Total Suspended Solids | mg/L | 50 |  | 10 | 10 | 10
| Turbidity | NTU | 50 |  | 0.83 | 0.97 | 0.9
Monitoring Point 2: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | 2014-12-18 | pH | pH | 6 - 8.5 |  | 6.84 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 0.83 | N
| 2014-12-19 | pH | pH | 6 - 8.5 |  | 6.74 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 0.97 | N
Monitoring Point 2: | No discharge events during period