## Jan - 2015
Benedict Industries Pty Ltd | [6 empty] | 2015-01-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Monitoring Point 2: | Below Basin 5 as identified in map attached to the "Sandy Point Quarry Stormwater and Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | 7.2 | 7.33 | 7.265
| Total Suspended Solids | mg/L | 50 |  | 14 | 18 | 16
| Turbidity | NTU | 50 |  | 0.74 | 10.83 | 5.785
Monitoring Point 2: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | 2015-01-28 | pH | pH | 6 - 8.5 |  | 7.2 | N
|  | TSS | mg/L | 50 |  | 14 | N
|  | Turbidity | NTU | 50 |  | 10.83 | N
| 2015-01-31 | pH | pH | 6 - 8.5 |  | 7.33 | N
|  | TSS | mg/L | 50 |  | 18 | N
|  | Turbidity | NTU | 50 |  | 0.74 | N
Monitoring Point 2: | No discharge events during period

## Feb - 2015
Benedict Industries Pty Ltd | [6 empty] | 2015-02-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Monitoring Point 2: | Below Basin 5 as identified in map attached to the "Sandy Point Quarry Stormwater and Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | 6.9 | 6.97 | 6.9175
| Total Suspended Solids | mg/L | 50 |  | 2 | 10 | 6
| Turbidity | NTU | 50 |  | 3.2 | 13 | 7.035
Monitoring Point 2: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | 2015-02-17 | pH | pH | 6 - 8.5 |  | 6.9 | N
|  | TSS | mg/L | 50 |  | 2 | N
|  | Turbidity | NTU | 50 |  | 3.2 | N
| 2015-02-18 | pH | pH | 6 - 8.5 |  | 6.9 | N
|  | TSS | mg/L | 50 |  | 2 | N
|  | Turbidity | NTU | 50 |  | 13 | N
| 2015-02-19 | pH | pH | 6 - 8.5 |  | 6.9 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 5.63 | N
| 2015-02-20 | pH | pH | 6 - 8.5 |  | 6.97 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 6.31 | N
Monitoring Point 2: | No discharge events during period

## Mar - 2015
Benedict Industries Pty Ltd | [6 empty] | 2015-03-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Monitoring Point 2: | Below Basin 5 as identified in map attached to the "Sandy Point Quarry Stormwater and Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Monitoring Point 2: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period
Monitoring Point 2: | No discharge events during period

## Apr - 2015
Benedict Industries Pty Ltd | [6 empty] | 2015-04-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Monitoring Point 2: | Below Basin 5 as identified in map attached to the "Sandy Point Quarry Stormwater and Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | 7.42 | 7.85 | 7.69
| Total Suspended Solids | mg/L | 50 |  | 15 | 40 | 27.6667
| Turbidity | NTU | 50 |  | 33 | 54 | 40.6133
Monitoring Point 2: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | 2015-04-21 | pH | pH | 6 - 8.5 |  | 7.85 | N
|  | TSS | mg/L | 50 |  | 28 | N
|  | Turbidity | NTU | 50 |  | 33 | N
| 2015-04-24 | pH | pH | 6 - 8.5 |  | 7.42 | N
|  | TSS | mg/L | 50 |  | 40 | N
|  | Turbidity | NTU | 50 |  | 54 | Y
| 2015-04-29 | pH | pH | 6 - 8.5 |  | 7.8 | N
|  | TSS | mg/L | 50 |  | 15 | N
|  | Turbidity | NTU | 50 |  | 34.84 | N
Monitoring Point 2: | No discharge events during period

## May - 2015
Benedict Industries Pty Ltd | [6 empty] | 2015-05-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Monitoring Point 2: | Below Basin 5 as identified in map attached to the "Sandy Point Quarry Stormwater and Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | 6.9 | 7.5 | 7.2333
| Total Suspended Solids | mg/L | 50 |  | 10 | 16 | 13.3333
| Turbidity | NTU | 50 |  | 4.01 | 10 | 6.5833
Monitoring Point 2: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | 2015-05-05 | pH | pH | 6 - 8.5 |  | 7.5 | N
|  | TSS | mg/L | 50 |  | 16 | N
|  | Turbidity | NTU | 50 |  | 5.74 | N
| 2015-05-06 | pH | pH | 6 - 8.5 |  | 7.3 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 4.01 | N
| 2015-05-07 | pH | pH | 6 - 8.5 |  | 6.9 | N
|  | TSS | mg/L | 50 |  | 14 | N
|  | Turbidity | NTU | 50 |  | 10 | N
Monitoring Point 2: | No discharge events during period

## Jun - 2015
Benedict Industries Pty Ltd | [6 empty] | 2015-06-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Monitoring Point 2: | Below Basin 5 as identified in map attached to the "Sandy Point Quarry Stormwater and Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | 7.4 | 8.2 | 7.7333
| Total Suspended Solids | mg/L | 50 |  | 10 | 13 | 11
| Turbidity | NTU | 50 |  | 4.35 | 7.82 | 6.1767
Monitoring Point 2: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | 2015-06-25 | pH | pH | 6 - 8.5 |  | 7.6 | N
|  | TSS | mg/L | 50 |  | 13 | N
|  | Turbidity | NTU | 50 |  | 7.82 | N
| 2015-06-26 | pH | pH | 6 - 8.5 |  | 7.4 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 4.35 | N
| 2015-06-30 | pH | pH | 6 - 8.5 |  | 8.2 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 6.36 | N
Monitoring Point 2: | No discharge events during period

## Jul - 2015
Benedict Industries Pty Ltd | [6 empty] | 2015-07-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Monitoring Point 2: | Below Basin 5 as identified in map attached to the "Sandy Point Quarry Stormwater and Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | 6.8 | 7.6 | 7.2
| Total Suspended Solids | mg/L | 50 |  | 10 | 10 | 10
| Turbidity | NTU | 50 |  | 6.56 | 9.65 | 8.105
Monitoring Point 2: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | 2015-07-01 | pH | pH | 6 - 8.5 |  | 6.8 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 6.56 | N
| 2015-07-29 | pH | pH | 6 - 8.5 |  | 7.6 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 9.65 | N
Monitoring Point 2: | No discharge events during period
Monitoring Point 2:

## Aug - 2015
Benedict Industries Pty Ltd | [6 empty] | 2015-08-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Monitoring Point 2: | Below Basin 5 as identified in map attached to the "Sandy Point Quarry Stormwater and Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | 6.8 | 7.7 | 7.45
| Total Suspended Solids | mg/L | 50 |  | 10 | 10 | 10
| Turbidity | NTU | 50 |  | 3.67 | 27.27 | 19.7175
Monitoring Point 2: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | 2015-08-03 | pH | pH | 6 - 8.5 |  | 7.7 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 3.67 | N
| 2015-08-05 | pH | pH | 6 - 8.5 |  | 6.8 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 20.93 | N
| 2015-08-06 | ph | pH | 6 - 8.5 |  | 7.7 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 27 | N
| 2015-08-07 | pH | pH | 6 - 8.5 |  | 7.6 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 27.27 | N
Monitoring Point 2: | No discharge events during period

## Sep - 2015
Benedict Industries Pty Ltd | [6 empty] | 2015-09-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Monitoring Point 2: | Below Basin 5 as identified in map attached to the "Sandy Point Quarry Stormwater and Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | 6.7 | 7.8 | 7.25
| Total Suspended Solids | mg/L | 50 |  | 10 | 10 | 10
| Turbidity | NTU | 50 |  | 3.55 | 13.91 | 8.73
Monitoring Point 2: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | 2015-09-11 | ph | pH | 6 - 8.5 |  | 7.8 | N
|  | Total Suspended Solids | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 13.91 | N
| 2015-09-14 | pH | pH | 6 - 8.5 |  | 6.7 | N
|  | Total Suspended Solids | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 3.55 | N
Monitoring Point 2: | No discharge events during period

## Oct - 2015
Benedict Industries Pty Ltd | [6 empty] | 2015-10-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Monitoring Point 2: | Below Basin 5 as identified in map attached to the "Sandy Point Quarry Stormwater and Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Monitoring Point 2: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period
Monitoring Point 2: | No discharge events during period

## Nov - 2015
Benedict Industries Pty Ltd | [6 empty] | 2015-11-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Monitoring Point 2: | Below Basin 5 as identified in map attached to the "Sandy Point Quarry Stormwater and Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | 7.4 | 7.6 | 7.5333
| Total Suspended Solids | mg/L | 50 |  | 4.44 | 10 | 8.0833
| Turbidity | NTU | 50 |  | 8.04 | 10 | 9.46
Monitoring Point 2: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | 2015-11-05 | pH | pH | 6 - 8.5 |  | 7.4 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 8.72 | N
| 2015-11-06 | pH | pH | 6 - 8.5 |  | 7.5 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 8.04 | N
| 2015-11-09 | pH | pH | 6 - 8.5 |  | 7.5 | N
|  | TSS | mg/L | 50 |  | 4.44 | N
|  | Turbidity | NTU | 50 |  | 10 | N
| 2015-11-10 | pH | pH | 6 - 8.5 |  | 7.6 | N
|  | TSS | mg/L | 50 |  | 6.8 | N
|  | Turbidity | NTU | 50 |  | 10 | N
| 2015-11-17 | pH | pH | 6 - 8.5 |  | 7.6 | N
|  | TSS | mg/L | 50 |  | 7.7 | N
|  | Turbidity | NTU | 50 |  | 10 | N
| 2015-11-18 | pH | pH | 6 - 8.5 |  | 7.6 | N
|  | TSS | mg/L | 50 |  | 9.56 | N
|  | Turbidity | NTU | 50 |  | 10 | N
Monitoring Point 2: | No discharge events during period

## Dec - 2015
Benedict Industries Pty Ltd | [6 empty] | 2015-12-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Monitoring Point 2: | Below Basin 5 as identified in map attached to the "Sandy Point Quarry Stormwater and Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Monitoring Point 2: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period
Monitoring Point 2: | No discharge events during period