## Jan - 2017
Benedict Industries Pty Ltd | [6 empty] | 2017-01-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period

## Feb - 2017
Benedict Industries Pty Ltd | [6 empty] | 2017-02-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period

## Mar - 2017
Benedict Industries Pty Ltd | [6 empty] | 2017-03-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | 6.4 | 8.64 | 7.2872
| Total Suspended Solids | mg/L | 50 |  | 10 | 22 | 11.3889
| Turbidity | NTU | 50 |  | 1.77 | 21.8 | 5.5533
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | 2017-03-02 | pH | pH | 6 - 8.5 |  | 7.32 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 2.66 | N
| 2017-03-03 | pH | pH | 6 - 8.5 |  | 6.58 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 3.1 | N
| 2016-03-04 | pH | pH | 6 - 8.5 |  | 7.47 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 3.11 | N
| 2017-03-05 | pH | pH | 6 - 8.5 |  | 7.23 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 2.89 | N
| 2016-03-06 | pH | pH | 6 - 8.5 |  | 7.23 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 2.82 | N
| 2017-03-07 | pH | pH | 6 - 8.5 |  | 7.11 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 2.5 | N
| 2017-03-08 | pH | pH | 6 - 8.5 |  | 7.33 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 3.69 | N
| 2017-03-09 | pH | pH | 6 - 8.5 |  | 7.05 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 2.92 | N
| 2017-03-10 | pH | pH | 6 - 8.5 |  | 6.69 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 1.77 | N
| 2017-03-16 | pH | pH | 6 - 8.5 |  | 7.09 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 1.87 | N
| 2017-03-17 | pH | pH | 6 - 8.5 |  | 6.83 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 1.8 | N
| 2017-03-20 | pH | pH | 6 - 8.5 |  | 6.42 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 9.74 | N
| 2017-03-21 | pH | pH | 6 - 8.5 |  | 8.64 | Y
|  | TSS | mg/L | 50 |  | 17 | N
|  | Turbidity | NTU | 50 |  | 11.4 | N
| 2017-03-22 | pH | pH | 6 - 8.5 |  | 8.25 | N
|  | TSS | mg/L | 50 |  | 14 | N
|  | Turbidity | NTU | 50 |  | 14.7 | N
| 2017-03-23 | pH | pH | 6 - 8.5 |  | 7.99 | N
|  | TSS | mg/L | 50 |  | 22 | N
|  | Turbidity | NTU | 50 |  | 21.8 | N
| 2017-03-28 | pH | pH | 6 - 8.5 |  | 6.4 | N
|  | TSS | mg/L | 50 |  | 12 | N
|  | Turbidity | NTU | 50 |  | 4.93 | N
| 2017-03-29 | pH | pH | 6 - 8.5 |  | 7.42 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 3.47 | N
| 2017-03-30 | pH | pH | 6 - 8.5 |  | 7.36 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 5.04 | N
| 2017-03-31 | pH | pH | 6 - 8.5 |  | 7.34 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 2.85 | N

## Apr - 2017
Benedict Industries Pty Ltd | [6 empty] | 2017-04-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | 6.21 | 7.37 | 6.86
| Total Suspended Solids | mg/L | 50 |  | 10 | 14 | 10.5714
| Turbidity | NTU | 50 |  | 2.79 | 16 | 6.3329
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | 2017-04-01 | pH | pH | 6 - 8.5 |  | 7.35 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 2.79 | N
| 2017-04-02 | pH | pH | 6 - 8.5 |  | 7.37 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 4.16 | N
| 2017-04-04 | pH | pH | 6 - 8.5 |  | 7.23 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 4.75 | N
| 2017-04-05 | pH | pH | 6 - 8.5 |  | 6.79 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 5.25 | N
| 2017-04-06 | pH | pH | 6 - 8.5 |  | 6.72 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 4.18 | N
| 2017-04-07 | pH | pH | 6 - 8.5 |  | 6.21 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 7.2 | N
| 2017-04-08 | pH | pH | 6 - 8.5 |  | 6.35 | N
|  | TSS | mg/L | 50 |  | 14 | N
|  | Turbidity | NTU | 50 |  | 16 | N

## May - 2017
Benedict Industries Pty Ltd | [6 empty] | 2017-05-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period

## Jun - 2017
Benedict Industries Pty Ltd | [6 empty] | 2017-06-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1:

## Jul - 2017
Benedict Industries Pty Ltd | [6 empty] | 2017-07-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1:
Monitoring Point 2:

## Aug - 2017
Benedict Industries Pty Ltd | [6 empty] | 2017-08-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1:

## Sep - 2017
Benedict Industries Pty Ltd | [6 empty] | 2017-09-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1:

## Oct - 2017
Benedict Industries Pty Ltd | [6 empty] | 2017-10-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1:

## Nov - 2017
Benedict Industries Pty Ltd | [6 empty] | 2017-11-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1:

## Dec - 2017
Benedict Industries Pty Ltd | [6 empty] | 2017-12-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: