## Jan - 2019
Benedict Industries Pty Ltd | [6 empty] | 2019-01-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period

## Feb - 2019
Benedict Industries Pty Ltd | [6 empty] | 2019-02-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period

## Mar - 2019
Benedict Industries Pty Ltd | [6 empty] | 2019-03-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period

## Apr - 2019
Benedict Industries Pty Ltd | [6 empty] | 2019-04-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period

## May - 2019
Benedict Industries Pty Ltd | [6 empty] | 2019-05-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period

## Jun - 2019
Benedict Industries Pty Ltd | [6 empty] | 2019-06-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period

## Jul - 2019
Benedict Industries Pty Ltd | [6 empty] | 2019-07-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period
Monitoring Point 2:

## Aug - 2019
Benedict Industries Pty Ltd | [6 empty] | 2019-08-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period

## Sep - 2019
Benedict Industries Pty Ltd | [6 empty] | 2019-09-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period

## Oct - 2019
Benedict Industries Pty Ltd | [6 empty] | 2019-10-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period

## Nov - 2019
Benedict Industries Pty Ltd | [6 empty] | 2019-11-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period

## Dec - 2019
Benedict Industries Pty Ltd | [6 empty] | 2019-12-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period